Most of the tests were carried out during the design phase prior to ISO9001/ISO13486 or the MDD.

Existing documents
ID Doc 1232 Tests for the Micostim original } J4
ID Doc 1737 Microstim DB test procedures }

ID Doc Doc 3316 AML functional tester used on production line } J4
ID Doc 15628 DB3 Tester for users } J4 NB simple Go/No Go test is required.

ID Doc 8108 I think this is the same as ID Doc 1737
ID Doc 3517 General test information . Usually only required if we change any critical components eg transformers or power transistors.
ID Doc 3444 Manufacturer test on moving production

John S Lamb
10/12/17