History and the number of sales since 1986 prove that there are no issues with toxicity or bio-compatibility
The plastic enclosures prior to 2005 were chosen from major plastic enclosure companies.
Post 2005 the plastic has been specified at the pre manufacturing stage for use in the medical environment and has had no adverse effects to date.

This also applies to the leads which are manufactured by one of the largest cable makers in the world.

The electrodes can be supplied by any recognised ECG electrode supplier.

John S. Lamb
10/12/17