T pieces are manufactured in Polyethelene.
They are intended to connect two flexible 22mm diameter tubes that normally carry gas from a mixer to a ventilator. The third leg is used to add an oxygen analyser.

J.S.Lamb