T pieces are manufactured in Polyethelene.
They are intended to connect two flexible 22mm diameter tubes that normally carry gas from a mixer to a ventilator. The third leg is used to add an oxygen analyser.
There is no need for an instruction manual.
Labels are applied detailing the risk of plastic to metal joints.
The devices are for single use unless otherwise stated and can be cleaned.

J.S.Lamb