APGAR Software Outstanding Issues.
Author:
Peter Anderson

Date:

26th January 2005

Version:
1

1
Error conditions are detected for the following software operations:


I2C communications


A/D functionality and accuracy checking


We need to incorporate error reporting into the software for these.

2
Do we need a software volume control for the sounder?

3
Re-writing the appropriate routines so that the “beeps” are of consistent length for any key press.

4
Re-writing the Real Time Clock initialisation routine to give a greater resolution than 1/64 second to cope with possible oscillator circuit production tolerances.

5
Should we utilise the hardware watchdog time to aid recovery from possible error conditions?

