VM3COP51.50 Resuscitation Cabinet Service Check List

| Tom Thumb Service Kit |  |  |
| --- | --- | --- |
| Tools: | Part number: | Quantity: |
| 7/8 and 3/4 spanner |  | 1 |
| 5/8 and 9/16 spanner |  | 2 |
| 12mm combination spanner (narrow width) |  | 1 |
| 10mm combination spanner |  | 1 |
| 3/16 Allen key |  | 1 |
| 3mm Allen key |  | 1 |
| 20-35 C spanner |  | 1 |
| Small screwdriver |  | 1 |
| Large screwdriver |  | 1 |
| Adjustable valve setting tool |  | 1 |
| Precision valve isolation cap | 0360010 | 1 |
| Consumables: |  |  |
| Fomblin grease | 0330220 | 1 |
| Thread-lock | 0330221 | 1 |
| Spares: |  |  |
| Pressure gauge | 0330193 | 2 |
| Flowmeter blocking bolt & nut | 0330206 | 2 |
| 10mm inlet | 0330208 | 2 |
| 15mm outlet | 0330209 | 2 |
| Precision valve | 0330210 | 2 |
| Adjustable valve | 0330211 | 2 |
| Gauge seal | 0330212 | 2 |
| Thick O ring | 0030213 | Bag of |
| Thin O ring – 1/16 section | 0330214 | Bag of |
| Blanking bolt | 0330296 | 2 |
| Spacer block | 0330191 | 2 |
| Rail clamp | 0330190 | 2 |
| M4x10mm hex drive bolts | 0330216 | 8 |
| Fixed elbow 22M/15F-15M * 7.6mm port | 1993 | 1 |
| Adjustable valve label | 0390010 | 2 |
| Tom Thumb front label | 0390015 | 2 |
| Address label | 0390016 | 2 |
| Caution label | 0390018 | 2 |
| Blender Kit |  |  |
| Tools: |  |  |
| Inline Oxygen regulator |  | 1 |
| Inline air regulator |  | 1 |
| AX300 Oxygen monitor | 0111230 | 1 |
| Spares: |  |  |
| Oxygen suction hose |  | As required |
| Air suction hose |  | As required |
| Low Suction Controller Filter - Oxylitre | 0310104 | As required |
| Low Suction Controller Filter - Therapy Equipment | 0310109 | As required |
| Low Suction Controller Filter - Therapy Equipment | 0310111 | As required |
| O ring set | 0332003 | 1 |
| Tapered connector | 3833-007-1 |  |
| Suction clear tubing | 0330035 | 1m |
| Service sheet |  | As required |
| Serviced sticker |  | Roll of |
| Radiant Warmer and Cabinet Kit |  |  |
| Tools: |  |  |
| T25 T key |  | 1 |
| Fluke ESA615 |  | 1 |
| Multi-meter |  | 1 |
| Cordless vacuum |  | 1 |
| Metric Allen key set |  | 1 |
| 1/4” bit set |  | 1 |
| Short handled mirror |  | 1 |
| Torch |  | 1 |
| Magnifying glass |  | 1 |
| Spares: |  |  |
| Fuse 250mA |  | Bag of |
| Fuse 1.6A |  | Bag of |
| Case screw M5x8mm |  | Bag of |
| Case screw M6x15mm counter sunk |  | Bag of |
| Bolts M6x20mm |  | Bag of |
| Casing Spacer Sleeve | 0330147 | Bag of |
| Self-tapping Screw No. 6 x 0.5 inch | 0330064 | Bag of |
| Cabinet Rail - Spacer 15mm | 0332037 | Bag of |
| Cabinet Rail - Spacer 20mm | 0332039 | Bag of |
| Cabinet Rail - Screw 35mm | 0332041 | Bag of |
| Cabinet Rail - Lock nut | 0332043 | Bag of |
| Label: Viamed (domed) | 0390056 | 5 |
| Label: Support door (domed) | 0390057 | 5 |
| Label: Caution | 0390054 | 5 |
| Grommets |  | Bag of |
| AA batteries for Apgar | 9950054 | As required |