	VOP

	Viamed Operating sub Process

	VM3/COP/02.01

	
	
	
	

	
	
	
	

	Boundaries of 13485:2016



Boundaries of 13485:2016:
	6.4.2
	Contamination control
As appropriate, the organization shall plan and document arrangements for the control of contaminated 
or potentially contaminated product in order to prevent contamination of the work environment, 
personnel, or product. 
For sterile medical devices, the organization shall document requirements for control of contamination 
with microorganisms or particulate matter and maintain the required cleanliness during assembly or 
packaging processes.
	Justification:
   Viamed does not have any Sterile Products, 

	7.5.5
	Particular requirements for sterile medical devices
The organization shall maintain records of the sterilization process parameters used for each 
sterilization batch (see 4.2.5). Sterilization records shall be traceable to each production batch of 
medical devices.
	Justification:
   Viamed does not have any Sterile Products, 

	7.5.7
	Particular requirements for validation of processes for sterilization and sterile barrier systems
The organization shall document procedures (see 4.2.4) for the validation of processes for sterilization 
and sterile barrier systems. 
Processes for sterilization and sterile barrier systems shall be validated prior to implementation and 
following product or process changes, as appropriate. 
Records of the results and, conclusion of validation and necessary actions from the validation shall be 
maintained (see 4.2.4 and 4.2.5). 
NOTE Further information can be found in ISO 11607-1 and ISO 11607-2.
	Justification:
   Viamed does not have any Sterile Products, 

	7.5.9.2
	Particular requirements for implantable medical devices
The records required for traceability shall include records of components, materials, and conditions for 
the work environment used, if these could cause the medical device not to satisfy its specified safety 
and performance requirements. 
The organization shall require that suppliers of distribution services or distributors maintain records of 
the distribution of medical devices to allow traceability and that these records are available for inspection. 
Records of the name and address of the shipping package consignee shall be maintained
	Justification:
   Viamed does not have any implantable devices, 


       16/10/2017                   Page 1 of 1


Page 2 of 1

