	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: +44 (0)1535 634542     Fax: +44 (0)1535 635582

Email: info@viamed.co.uk   Website: www.viamed.co.uk



Amendment to User Manual

VM 2160 User Manual

The following interim amendment to the user manual notifies that the display has been upgraded to a TFT colour display. The amendment will be incorporated in the next revision of the manual.

Handheld Pulse Oximeter VM 2160 

User Manual V1.6   Viamed Ltd. 2010

Section 8. Technical Specifications     Page 15
Display:

· OLED colour graphic display, 262,000 colours, 128 x 160 pixels.

· Data displayed: oxygen saturation, pulse rate, plethysmogram, bar graph, short-term and long-term trends

· Indicators: signal quality, pulse amplitude, battery status, alarm silenced, sensor detection, sensor disconnection

Amended to:
Display:

· TFT colour display, 65000 colours, 128 x 160 pixels, 1.77"

· Data displayed: oxygen saturation, pulse rate, plethysmogram, bar graph, short-term and long-term trends

· Indicators: signal quality, pulse amplitude, battery status, alarm silenced, sensor detection, sensor disconnection

20th October 2017

[image: image1.png]