REJECTED GOODS  


Where goods fail incoming Inspection (See Procedure VM/COP/05) they will be quarantined and put on hold awaiting return to the supplier or agreed action. 


If a product is rejected due to


Damage in transit


Failure to meet relevant specification


Failure to meet IEC601 safety specification.�It is placed in "Reject Return To Supplier" area suitably labelled


Where appropriate, a Goods Return Note (Form QC08) will be raised and faxed to the supplier as pre-notice of a pending return, request for collection, or sent with the goods.


The Goods Return Note is uniquely numbered and is in duplicate.


Top copy - Supplier


2nd copy - Office


.VENDOR QUALITY CONTROL


Responsibilities �The Managing Director will be responsible for ascertaining whether Suppliers/Subcontractors performance is satisfactory or unsatisfactory based on the following:-�For each Product


Rejects as a result of non-conformance to purchase order.


Rejects as a result of damage in transit.


Incorrect or lack of correct documentation.


Incorrect quantities delivered.


Customer complaints.


Length of time taken in correcting situation


Corrective action will be taken by the Managing Director





Quality Record �Each Supplier/Sub Contractors quality records will be kept in the Suppliers File and records kept of any action taken against them


Concessions �All concessions on quality will be at the Managing Directors sole discretion and only if the product still complies with the minimum acceptable quality required.


 Non Conformity Review�Non conformity of any product must be immediately reviewed by the managing director and QA personnel before release 


Corrective Action�Where possible existing procedures : Repairs VM/COP/09 and Customer Complaints VM/COPO/10 should be used 


 Preventetive Action�Manufacturers and suppliers should be informed by Fax or email of any anomalies in product or installations found in routine service or maintenance. If potentially serious VN/COP/09 a customer complaint should be raised.


�






Goods Return Note�
�
Goods Return Number





Delivery  Note Number:     Pt Numbers














�
�
Batch Number                                                             Serial Number�
�
Reason for Return
































�
�
Please:  Replace/Credit/Repair and return�
�
Worksheet Attached       YES/ NO�
�
Worksheet Reference number�
�
Dispatched by:�
�





















�
�
                                                                                                                       QC08�
�



VOP�
�
Viamed Operating sub Process�
�
Rejected Goods – Vendor Quality Control�
�
Created:�
27/03/06�
VM3/COP/06�
Issue 1�
�
Revised:�
�date \@ "dd MMMM yyyy" \* MERGEFORMAT�23 May 2006��
Last printed � PRINTDATE �23/05/2006 09:32��
Page � PAGE �2� of � NUMPAGES �2��
�






� FILENAME �VM3COP06 Rejected Goods�       � DATE \@ "dd/MM/yyyy" �23/05/2006�             Page � PAGE �2� of � NUMPAGES �2�











