	VOP

	Operating sub Process

	Software Validation

	Created:
	22/10/17
	VOP 27
	Issue 1

	Revised:
	28 October 2017
	Viamed Ltd ISO13485:2016: 4.1.6 ,7.5.6 ,
VST Ltd ISO9001:2015: 8.5.1  
	Page 1 of 5

	Viamed Ltd ISO13485:2016: 4.1.6  



SCOPE
This procedure is established to describe the system used within the company for the control of Software Validation. It is used in conjunction with the individual sub procedures, which show the relevant information necessary.
RESPONSIBILITIES
It is the responsibility of the Managing Director, to ensure that the contents of this procedure, and related procedures, are adhered to. 
PROCEDURE
Accounts package is externally Audited via Accountants to produce year end accounts.
Accounts are cross matched to Banks, and Vat returns Etc..
Backup Software
 Rolling task :  454, to Compare Turnover screen of the Live Server and VMserver8, indicates the backup system has updated corectly.
Intrastats – Accounts package Imports,
 Where data is imported a Rolling Task 459, Compares turnover from Opera report screen to intrastats report screen. As Intrastats works out the turnover via each individual credit / Invoice, and is compared to the Overall figure within Opera. The data import routines are regularly Validated.
Intrastats, general.
 Depending on the severity of the operation several rolling tasks have been identified to validate functions of the intrastats system.
	IT Controller
	
	
	
	
	
	
	
	

	Process Scope
	Brief Description
	Responsibility/Procedure/Training
	Task
	Audit
	Freq
	Risk
	Overall
	Action

	7850 Test the Goods out process disabling picking of items not relating to an order
	Software Validation Scan In Correct Product
	User Training
	752
Goods Out
	753
Goods In
	3
	2
	6
	Task 1M 
Audit 3M

	7851 To test intrastats does not allow picking of unprocessed products to live customer orders
	Software Validation Scan Un-QA Product To Order
	User Training
	754
Goods Out
	755
Goods In
	3
	4
	12
	Task 1M 
Audit 3M

	7852 To attempt to Scan a product that has gone past its expire date.
	Software Validation Expired Stock
	User Training
	756
Goods Out
	757
Goods In
	3
	2
	6
	Task 1M 
Audit 3M

	7853 Warehouse shelfs can be tagged as sellable stock / unsellable stock. Either for quarantine purposes or holding items for other customer orders.

Test that Order picking cannot pick unsellable stock locations to an Order
	Software Validation Non Sell Able Shelf
	User Training
	759
Goods Out
	760
Goods In
	3
	3
	9
	Task 1M 
Audit 3M

	7854 Software Validation of the production lists.

By confirming no extra production jobs are stuck in the system, and all listed production jobs are found. the production tracking is validated
	Software Validation In Production List
	User Training
	761
Goods In
	762
Managing Director
	2
	2
	4
	Task 3M 
Audit 6M

	7855 Software Validation - Production Lists
Review the current active production lists inintrastats to the actual in progress production lists
	Software Validation - Production Lists
	User Training
	761
Goods In
	762
Managing Director
	2
	2
	4
	Task 3M 
Audit 6M

	7856 To check order picking cannot pick against an unchecked order
	Software Validation Unchecked Orders
	User Training
	764
Office Processes
	765
Managing Director
	2
	2
	4
	Task 3M 
Audit 12M

	7857 To confirm Software Validation Stock Tracking Check, is functioning as expected
	Software Validation Stock Tracking Check
	User Training
	763
Goods In
	
	2
	1
	2
	Task 6M

	7858 Test the QA System that Staff not trained for QA are unable to QA a Product.
	Software Validation Attempt To QA Some Stock
	User Training
	766
Office Processes
	
	3
	3
	9
	Task 1M

	7861 Software Validating Of Training Documents via Forced Required Reading
	Software Validation Of Training Documents Forced Reading
	User Training
	768
Managing Director
	
	1
	2
	2
	Task 12M

	7865 Software Validiation of the system:
To check all process(s) tasks and audits are not clashed with the same person doing the Task as the Audit.
	Software Validation Conflicting Audits
	User Training
	779
Managing Director
	781
Managing Director
	1
	1
	1
	Task 12M 
Audit 12M

	7870 Scope to check the automatic system of tagging product non conformance and other issues to the post market surveillance review report.
	Software Validation Non Conformance Product Risk Feedback Loop
	User Training
	789
Managing Director
	
	1
	1
	1
	Task 12M

	7875 To test document control is working as intended.
	Software Validation Document Control
	User Training
	802
Managing Director
	803
Company Secretary
	1
	1
	1
	Task 3M 
Audit 12M

	7880 To confirm the out of documents computer software functions as expected flagging out of date items on to the list
	Software Validation Out Of Date Documents
	User Training
	808
Managing Director
	809
Company Secretary
	1
	1
	1
	Task 3M 
Audit 6M

	7881 To compare Oprea Live Orders to Intrastats Backorder Active List,
	Software Validation - Live Orders
	User Training
	810
Managing Director
	
	1
	3
	3
	Task 12M


                28/10/2017                 Page 1 of 5
                                     28/10/2017                    Page 5 of 5

