Foreseeable Misuse of Product

	PRODUCT :    Tom Thumb

	User Misuse
	

	Mechanical misuse
	Dropping: could damage the guage

	Electrical misuse
	Not Applicable

	Other equipment
	Blender could fail: hoses could fail: Flow meter could fail or be inaccurate.

	User misuse
	The user could disconnect the Tom Thumb and by-pass the circuit

	Other
	

	
	

	
	


Table 1: 

Foreseeable Misuse of Product.doc                                                   13/11/17
Table 2: 


