Microstim IP Rating

7.2.9 IP classification ME EQUIPMENT or its parts shall be marked with a symbol, using the letters IP followed by the designations described in IEC 60529, according to the classification in 6.3 (see Table D.3, Code 2). ME EQUIPMENT classified IPX0 or IP0X need not be marked as such.

As of 2017 4796 Units sold only 3 reported ingress problem – from 1 single user. With at least 404 unique customers not including further customers from distributor sales.

Less than 0.06% reported problems.