	VIAMED QUALITY MANUAL
	5-Jun-06

	
	ISSUE:          1

REVISION:   1.3



VIAMED Ltd

QUALITY MANUAL

BS EN ISO 9000:2000

ISO 13485:2003

MDD / 93 / 42 EEC

CMDCAS

JSL v.1.3
04 June 2006

Issue 3

	
	
	
	
	AMENDMENT
	

	SECTION
	PAGE
	ISSUE
	DATE
	DETAILS OF CHANGE
	INT

	1.3.6
	1
	1 Rev 1
	21.4.94
	Copy nos 2 & 3 removed
	

	1.3.6
	1
	1 Rev 1
	10.94
	Copy 4 removed
	

	1.3.5
	1
	1Rev 2
	10.94
	Copy to accreditation body removed
	

	Manual
	All
	2
	1.08.95
	Upgraded to ISO9001/EN4601
	

	2.2.2
	1
	2 Rev1
	24/7/96
	Addition of master File Location
	

	0
	1
	2 Rev 1
	24/7/96
	Addition of Service to process Control
	

	4.4
	1
	2 Rev1
	24/7/96
	Section 4.4 added
	

	1.2
	1
	2
	20/1/98
	Ref MDD added
	

	4.2
	5
	2 rev 3
	22/09/02
	International stds
	

	4.2
	5
	2 rev 3
	22/09/02
	Technical file 
	

	4.3
	28
	2 rev 3
	22/09/02
	Risk analysis
	

	4.3
	29
	2 rev 3
	22/09/02
	Clinical investigation
	

	4.8
	15
	2 rev 3
	22/09/02
	Implantable records
	

	4.9
	10
	2 rev 3
	22/09/02
	Temporary secondment
	

	4.14
	23
	2 rev 3
	22/09/02
	Complaints
	

	4.1.2
	15
	2 rev  3
	06/11/02
	Traceability extended back to supplier
	

	4.1.3
	15
	2 rev  3
	06/11/02
	Section added extending to end user
	

	1.3.1
	
	2 rec 3
	06/11/02
	Health & Safety added
	

	6.4.3
	
	2 rev 3
	06/11/02
	Reference to CMDCAS & international requirements
	

	Appendix A
	
	
	06/11/02
	New procedures added 
	


QUALITY MANUAL

CONTENTS OF MANUAL

	Section
	Title
	Sub Titles 
	Page

	1
	Company Policy Statement & Objectives
	
	

	2
	Scope

	
	

	3
	Company Quality Manual
	
	

	3
	Quality System
	
	

	4
	Quality Management System
	
	

	4.2
	Documentation Requirements

	
	

	4.2.3
	Control of Documents
	
	

	5
	Management Responsibilities

	
	

	5.2
	Customer Focus
	
	

	
	Quality Policy
	
	

	
	Quality management planning
	
	

	6
	Resource management
	Training
	

	7
	Product Realization & Planning
	
	

	7.2
	Customer Requirements
	Enquiries
	

	7.2.3
	Customer complaints
	
	

	7.3
	Design & Development
	
	

	7.4
	Purchasing
	Goods In
	

	7.5
	Production Provision
	
	

	7.5.1
	Sterility
	
	

	7.5.5
	Handling Storage Picking & packing
	
	

	7.6
	Control of Measuring Devices
	
	

	8.1
	Measurement, Analysis & Improvement
	
	

	8.2
	Systems Audits & Reviews
	
	

	8.3
	Control of non-conforming product
	
	

	8.4 
	Analysis of Data
	
	

	8.51
	Customer complaints
	
	

	8.52
	Corrective & Preventive Action
	
	

	
	List of Appendices

1.
Appendix A

List of Operating Procedures

2.
Appendix B

List of Manufacturing Procedures

3.
Appendix C

List of Quality Documents


	
	


1
Company Policy Statement and Objectives

Viamed Ltd is totally committed to achieving the highest levels of Quality in all the products we supply and the services we provide. Therefore if we are to succeed, all our employees must share this objective too.

Our Customers judge us by our products and services, therefore we must be totally committed in our outlook with regards to Quality

One of our Business objectives is to continually meet the requirements of the various international systems to which we have been assessed and approved. Conformance to the Processes and Systems recorded in this Quality Manual is mandatory, and will enable us to meet that objective 

In addition to strict adherence to these processes we need to continually develop and maintain the right Attitude towards high Quality achievement throughout the company 

Only in this way will we reach our Quality Policy of complete customer satisfaction 

Signed:……………………………………………… Date:………………… 

J.S. Lamb Managing 
-Director
























2
Scope 

This Quality manual details the requirements of Viamed Ltd Quality management systems, which are structured to operate in accordance with all relevant international standards 

The manual acts as a reference as to how the management systems are implemented, maintained and continually improved

This Quality manual details the requirements of Viamed Ltd Quality management systems, which are structured to operate in accordance with all relevant international standards

The manual acts as a reference as to how the management systems are implemented, maintained and continually improved.

The product range and services provided by Viamed, under the Quality management systems described in this manual are:

The design, manufacture, warehousing and distribution of Medical electronic equipment and accessories to hospitals, and the service and maintenance of such equipment.

Technical and Design files of all relevant information for the above products and services are maintained and continually reviewed for adequacy



















3
Company Quality Manual

This Company Quality Manual will be used to describe the Quality Policies, basic Quality Systems, & Health & Safety policies operating in the Company

The policies and systems recorded in this Manual will be supported where necessary  with Job Specifications, Quality plans, Detailed Procedures./Work 

 Instructions  which will record the activities required of employees in meeting the company's quality policies and systems.

Procedures are set out in the Company Operating Procedures Manual, and are listed in Appendix A. to be checked/

A summary of amendments to the manual will be recorded on the Quality Manual Amendments List (Section 1.3.7)

A modification to any page for a Section in the manual will require the number of all pages of that Section to be raised.  
The index pages will be modified at the same time

A Master Copy of the Manual will be maintained and the Managing Director will be responsible for this Master Copy.  Any subsequent modifications will be provided to the accreditation organisation for consideration.  On acceptance, modified pages will be filed in the master copy of the Manual.

Controlled copies of this Manual will be restricted to:-

Copy No. 1  -
Managing Director Technical Library
Other copies -  Paperport. Library Directory













4.0.
Quality Management  System


The Quality system as outlined in this manual describes the organizational structure for implementing Quality Management./The Quality system used within the company applies to, and interacts with, all activities specific to the products and services offered. The system involves all phases of the organization from the initial identification of customer requirements to their final satisfactory completion. These interactions are controlled through the process diagrams and flow charts that define each element of the Quality system.

These interaction processes ensure that the awareness of customer requirements is understood, and that the effectiveness of the Quality system is maintained. Regular reviews, audits and analyses are undertaken to ensure the compliance and continuing improvement of the system and processes

The subsequent analysis and planning of the specified requirements will take cognizance of any new controls, techniques, processes, test equipment or any other such resources necessary to achieve the required Quality standards, and any delivery timescales. Where resource needs are identified then these needs will be addressed and action taken to ensure that they are fulfilled.

4.1.a
Processes needed for the quality system have been identified and applied throughout the organization

4.1.b
The sequence and interaction of these processes have been determined

4.1.c
The criteria and methods needed to ensure that both the operation and control of these processes are effective has been determined

4.1.d
The availability of resources and information necessary to support the operation and monitoring of these processes has been assured   VOP 12     VM3/COP12   Audit 08
4.1.e
These processes are monitored, measured, and analysed.

4.1.f
The actions necessary to achieve planned results and to maintain the effectiveness of these processes have been implemented 
4.2
Documentation  Requirements      Charts 01 & 10  VOP01    VM3/COP/14  VM3/COP/01 Audit 10
4.2.1a
 
Policy Statement see page 4

4.2.1b

This Quality Manual is the base reference against which the various Quality Standards can be assessed. Quality Process Manual V1.3
4.2.1c

All procedures relevant to the control of quality are documented 



The Manual details a set of sub-tier documents, diagrams and charts which describe in more detail the essential controls, which are used to enable the various processes to be carried out.

4.2.1d

The company operates a system for the registration, issue, revision and control of all significant documents, including this manual.   QC46


The company operates a system for the control and issue of manufacturers manuals, technical data, international standards and regulatory requirements. ISO Databases Live


This data is stored in the company’s library.



A record of British and other Standards in use in the Company will be maintained up-to-date ISO Databases Live


Specification changes/product updates and document changes are controlled in accordance with Company Operating Procedure VM/COP/14. VOP/01 

4.2.1e 
 Records  
Quality records demonstrate achievement of the required quality and are  used as a source of data for investigation and analysis purpose. Records are maintained as objective evidence that the documented procedures are operational in practice.

4.2.1.f

Documents specified by national or regional regulations are recorded and subsequently archived

4.2.2

Quality manual 

4.2.3   Control of documents 
Documents required by the quality management system are controlled
Records are controlled according to the requirements of 4.2.4
Document procedures are established to define the controls needed 

4.2.3a
Documents either paper or electronic will be reviewed prior to use (VOP01)
4.2.3b

All changes to documents are reviewed and approved by the same authority that controlled the original, unless designated otherwise.

4.2.3c

The nature of change(s) to documents are identified, recorded, signed and dated. 



All documentation, records and forms used in the Quality Assurance Programme will be subject to methodical issue and modification.


Issue will be restricted to Major changes in documentation


Minor changes will be revision and identified by revision date.

4.2.3d
Copies of catalogues, specifications, Master Device Files for Technical products and technical standards are retained in the Library  and/or Electronically  and are available for consultation by persons needing them.

 4.2.3e
Hard copy documents (including records) are assessed regularly for legibility; illegible documents are withdrawn and replaced with new. 

4.2.3f
The control of all Manufacturers/Suppliers catalogues, specifications and technical standards will be the responsibility of the Managing Director/Technical Director

4.2.3g
All obsolete documents are removed from points of issue and use. They are archived but not destroyed. Minimum retention periods are specified for all documents and records QC45
4.2.4
Records  VM3/COP01

Records are identifiable to the product and the identification, storage, manufacture and disposition of quality records is carried out in accordance with Company Operating Procedure. Minimum retention periods are specified for all documents and records VM3/COP/14.  VOP01  QC45
5.0 
Management Responsibilities    Charts 01 & 02  VOP02  VOP 01  Audit 20  VM3/COP02

5.1
Management commitment

5.1.
The responsibility for the direct management is in accordance with the policies and strategies as determined by the Board of Directors, and is vested in the management team.

5.1.a
The management team is responsible for ensuring that all personnel are aware of the need to meet all the customer, statutory and regulatory requirements. VOP03   VOP04   VM3/COP
5.1.b
They will also ensure that the Quality Policy is understood  

5.1.c
its objectives are established and implemented   VOP13 VM3/COP13    QC18  

5.1.d
The management team is also responsible for the annual review of the company’s Quality system. VM3/COP 13  QC17
5.1.e
The authority for the implementation and maintenance of the management system is invested in the Quality Engineer who is the management representative for these activities.

All personnel employed by the company, up to and including senior management are responsible for the activities assigned to them. 


Their reporting and communication channels are described on the organization chart (VOP02).

5.2 
Customer focus

Top management ensures that customer requirements are determined and met (management meetings)

5.3 Quality Policy

5.3a
Top management ensures that the quality policy is appropriate for the purpose;

5.3b 
It includes a commitment to comply with requirements and to maintain the effectiveness of the quality management system. 

5.3c  
It also provides a framework for establishing and reviewing quality objectives.

5.3d
The quality policy is communicated and understood within the organization and is reviewed for continuing suitability

5.3e
It is reviewed for continuing suitability VM3COP/01.01
5.4  
Planning

5.4.1 Quality Objectives
Management assures that the quality objectives including those that meet requirements for product (7.1) are established at relevant functions and levels within the organization. The quality objectives are measurable and consistent with the quality policy
5.4.2 Quality management system planning

5.4.2a
Management ensures that the planning of the quality management system is carried out in                                                                                                                         order to meet the requirements given in 4.1 as well as the quality objectives and 

5.42b 
ensures the integrity of the quality system is maintained when changes to the quality management system are planned and implemented.

5.5. Responsibility authority & communication

5.5.1 Top management ensures that responsibilities and authorities are defined, documented, and communicated within the organization. They have established the interrelation of all personnel who manage, perform and verify work affecting quality, and ensure the independence and authority to perform these tasks 

5.5.2 Management representative

Management have appointed a management representative VOP02  VM3/COP02
5.5.2a
Ensuring that processes needed for the quality management system are established, implemented and maintained 

5.5.2b
They report to top management on the performance of the Quality management system and any requirements for improvement

5.5.2c
They ensure the awareness of regulatory and customer requirements throughout the organization This also includes liaison with external parties 

5.5.3
Internal communication
Top management ensures that appropriate communication processes are established within the organization and that communication takes place regarding the effectiveness of the quality management system
5.6 Management review   Audit 06
5.6.1
Top management reviews the organization’s quality management system, at planned intervals, to ensure its continuing suitability, adequacy and effectiveness. This review shall include assessing opportunities for improvement and the need for changes to the quality management system, including the quality policy and quality objectives. Records from management reviews shall be maintained (see 4.2.4).   Management Reviews   VOP13   VM3/COP13   QC17
5.6.2 
  Review input


 The input to management review  includes information on

5,6,2a
results of audits  QC17  Audit 21
5.6.2b
customer feedback,  Positive as well as complaints   Complaints file

5.6.2c
process performance and product conformity,

5.6.2d
status of preventive and corrective actions,    management meeting minutes
5.6.2e
follow-up actions from previous management reviews,

5.6.2f
changes that could affect the quality management system,

5.6.2g
recommendations for improvement, and

5.6.2h
new or revised regulatory requirements
5.6.3
Review output   VOP13


The output from the management review shall include any decisions and actions related to

5.6.3a
improvements needed to maintain the effectiveness of the quality management system and its processes

5.6.3b 
improvement of product related to customer requirements, and

5.6.3c
resource needs
6.0      Resource Management        Training  Charts 02 & 09 & 11            
6.1
The organization determines and provides the resources needed

6.1.a
To implement the quality management system and to maintain its effectiveness   VOP12 VM3COP/12 

6.1.b
To meet regulatory and customer requirements

6.2
Human resources
6.2.1 General

Personnel performing work affecting product quality shall be competent on the basis of appropriate education, training, skills and experience.  Audit 16
6.2.2
Competence awareness and training    VOP12  VM3/COP12  QC07

Training needs are identified by the specific requirements of current practices in producing the company’s products and services, and re-training will be given as a consequence of change.

6.2.2a.
 Trained / experienced / skilled personnel are assigned to all verification activities that are identified as such. All personnel whose activities could effect Quality will be suitably qualified and have had appropriate experience and/or training.  

6.2.2b
Training ensures that personnel develop the appropriate knowledge and skills required to enhance their contribution to the development of the Quality System. Where there is any shortfall on the part of any of the personnel in meeting the requirements of their job function, or temporary secondment to tasks under special conditions, the Managing Director will arrange for the necessary training to be provided.
6.2.2c
Adequate and appropriate in-house verification of requirements are identified and provide to ensure that contract requirements can be met, and that appropriately qualified personnel are assigned to activities commensurate with their abilities.

6.2.2d
All employees will be made aware, during their induction, of their contribution to, and the importance of, their activities within the company’s system. VOP/12     QC40 HS 01          Induction 

6.2.2e
A Training Record will be raised for each employee, which details the training, which has been provided and will be signed on satisfactory completion.


Training will be planned, carried out and recorded in accordance with company operating Procedure, VM/COP/12.


National and international requirements will be taken into account


.

6.3 Infrastructure


The company is committed to ensuring that all resources affecting personnel as well as product are identified and acquired as necessary, including workspace, tooling, equipment, clothing and the general environment including   VOP18
6.3a
buildings, workspace and associated utilities,  VOP18  

6.3b
process equipment (both hardware and software), and

6.3c
supporting services (such as transport or communication). Requirements for maintenance activities, including their frequency are documented when such activities or lack thereof can affect product quality. Records of such maintenance are maintained (see 4.2.4).    PAT
6.4 Work environment    VOP16             VOP12??     Audit 19 

The organization has determined and manages the work environment needed to achieve conformity to product requirements.   VOP16    COP19
6.4a
The organization has established documented requirements for health, cleanliness and clothing of personnel if contact between such personnel and the product or worn environment could adversely affect the quality of the product (see 7.5.1.2. I).       VM3/COP19 

6.4b
Where work environment conditions can have an adverse effect on product quality, the organization has  established documented requirements for the work environment conditions and documented procedures or work instructions to monitor and control these work environment conditions (see 7.5.1.2.1).  VOP16     VM3/COP19
6.4c
The organization ensures that all personnel who are required to work temporarily under special environmental conditions within the work environment are appropriately trained or supervised by a trained person [see 6.2.2 b)j VOP16     VM3/COP19    VOP12??     
6.4d
Special arrangements have been established and documented for the control of contaminated or potentially contaminated product in order to prevent contamination of other product, the work environment or personnel (see 7.5. a 1). If appropriate,

7.0 Product Realisation    VOP/17     VM3/COP16     Charts 03.04,05,11   Audit 03
7.1 Planning of product realization


The organization has planned and developed the processes it needs for product realization. Planning of product realization is consistent with the requirements of the other processes of the quality management system (see 4.1).   VM3/COP16
the following, are also considered as appropriate:

7.1a
quality objectives and requirements for the product

7.1b
the need to establish processes, documents, and provide resources specific to the product;VM3COP30 +  Products 

7.1c
required verification, validation, monitoring, inspection and test activities specific to the product and the criteria for product acceptance; QA procedures   VM3COP30 +  Products 

7.1d 
records needed to provide evidence that the realization processes and resulting product meet requirements (see 4.2.4).The output of this planning is in a form suitable for the organization’s method of operations .The organization has established documented requirements for risk management throughout product realization. Records arising from risk management shall be maintained (see 4.24
7.2 Customer related processes

7.2.1 Determination of requirements related to the product    Contract review    VOP03    VOP04    VM3/COP20.01
7.2.1a
Where enquiries are turned into orders then cognizance is taken of such factors as delivery activities, and post delivery,  

7.2.1b 
additional requirements (not specified by the customer) as deemed necessary to individual product.

7.2.1c
Statutory and regulatory requirements are observed  VOP17
7.2.1d
Where deemed necessary additional requirements will be determined by the organization

7.2.2. Review of requirements related to the product          Chart 03 & 13 & 29/ Records    Audit 01
The organization reviews the requirements related to the product. This review is conducted prior to the organization’s commitment to supply a product to the customer (e.g. submission of tenders, acceptance of contracts or orders, acceptance of changes to contracts or orders) and ensures that
7.2.2a 

product requirements are defined and documented
7.2.2b 

contract or order requirements differing from those previously expressed are resolved, and

7.2.2c
the organization has the ability to meet the defined requirements Records of the results of the review and actions arising from the review shall be maintained (see 4.2.4).

Where the customer provides no documented statement of requirement, the customer requirements shall be confirmed before acceptance.

Where product requirements are changed, the organization ensures that relevant documents are amended and that relevant personnel are made aware of the changed requirements.

As in Internet sales, a formal review is impractical for each order. The review will cover relevant product information such as catalogues, advertising material and web content   Sales & Marketing meeting

7.2.2 Customer communication         VOP 03   VOP04
7.2.3a 
 The organization determines and implement effective arrangements for communicating with customers.Communication with customers is paramount to the company’s operations, as such all communications are recorded in “Goldmine”, verbal enquires are recorded with all relevant information. VOP03  VM3/COP03  VM3/COP08    COP 20.08


Any uncertainty regarding interpretation or omissions is clarified with customer. Only when a customer’s requirements are fully understood, and the order has been accepted, will it be processed. In cases of difficulty meeting customer requirements, no alternative specification is offered without full further discussions within the concession procedure. Amendments to order are only undertaken by the documented procedures mechanism. VM2/COP20.05   VM3/COP20.06  VM3/COP20.07 

Review of all orders and amendments to order are endorsed as accepted prior to being processed.


The purpose of this review is to ensure that customer’s requirements are fully understood, and the company has the capability to meet those requirements. Audit 02

Customer enquiries, written or verbal Purchase orders or contracts will form the basis for determining the customer's requirements.

7.2.3b
Product information, When the company has quoted and has subsequently been awarded an order, the order will be carefully compared with the quotation and any related correspondence for discrepancies.  These will be resolved before the order is processed. The handling of enquiries, the processing of customer orders and Contract Review are carried out in accordance with Company Operating Procedure VM/COP/03.


Warehouse Instruction


Following acceptance of an order, products will be picked and packed


The Office Staff will cross-check that the products to be delivered conform to ordered requirements, and will raise the Invoice/Despatch documentation.


Where an 'accepted' item is not available for immediate despatch, a proposed alternative may be identified to the customer and a concession to despatch obtained.


On completion of picking, and assembly for the order items will be suitably identified by labelling.The procedures for warehouse instruction are set out in Company Operating Procedure VM/COP/08.!!!!!  Audit 01
7.2.3c
customer feedback, including customer complaints (see &2. 1), will be dealt with immediately to ensure the customer’s complete satisfaction   VOP19  QC11   QC05   VM3/COP10
7.2.3d
and advisory notices (see a 5.1).  Competent Authority form

 7.3 
Design and Development                    VOP17  VM3COP/16

7.3.1 Documented procedures are established and maintained to control and verify the design of product in order to ensure that the specified requirements are met. Throughout the design process,organization determines

7.3.1.a  the design & development stages

7.3.1.b reviews , verifies, and validates design transfer activities that are appropriate at each design stage. 

7.3.1.c  Responsibility and authority for design & development 

The need for risk analysis is evaluated and recorded where it is performed. CMDCAS requirement


Organisational and technical interfaces between different groups, which input into the design process are defined, and the necessary information documented, transmitted and regularly reviewed


The design and development process is controlled by the following seven stages:


 Plans are prepared for each design and development activity. 


The plans describe or reference these activities, and define responsibility for their implementation. The design and development activities are assigned to qualified personnel equipped with adequate resources. 


Plans are updated as the design evolves. 


Risk analysis is performed at all relevant stages of design, as dictated by design evolution CMDCAS requirement
7.3.2 Design & Development Inputs


Design input requirements relating to the product, including applicable statutory and regulatory requirements  will be identified, documented, and recorded Inputs will include
7.3.2a
functional, performance and safety requirements, according to the intended use
7.3.2b
applicable statutory and regulatory requirements     MDD 
7.3.2c
where applicable, information derived from previous similar designs
7.3.2d
other requirements essential for design and development, and) output(s) of risk management (see 7.1). These inputs will  be reviewed for adequacy and approved.      Design Files & CE Files

Requirements shall be complete, unambiguous and not in conflict with each other.
7.3.3 Design & Development outputs


Design output will be documenteds and expressed in terms that can be verified and validated against  design input requirements. Meet the design input requirements; contain or make references to acceptance criteria; identify those characteristics of the design that are crucial to the safe and proper functioning of the product (e.g. operating, storage, handling, maintenance and disposal requirements). Design output documents shall be reviewed before release. The outputs of design and development are provided in a form that enables verification against the design and development input and shall be approved prior to release.

Design and development outputs ensure that the design
7.3.3a
meets the input requirements for design and development
7.3.3b
provides appropriate information for purchasing, production and for service provision
7.3.3c
contains or references product acceptance criteria, and
7.3.3d
specifies the characteristics of the product that are essential for its safe and proper use. Records of the design and development outputs shall be maintained (see 4.24). NOTE Records of design and development outputs can include specifications, manufacturing procedures, engineering drawings, and engineering or research logbooks.
7.3.4 
Design & Development Reviews

At appropriate stages of design, formal documented reviews of the design results are planned and conducted. to

7.3.4a 
evaluate the ability of the results of design and development to meet requirements,

7.3.4b
to identify any problems and propose necessary action


Participants at each design review shall include representatives of all functions concerned with the design stage being reviewed, as well as other specialist personnel, as required. see 5.5.1 and 6.2. 1) Records of such reviews shall be maintained

7.3.5
Design & Development Verification;  


At appropriate stages of design, design verification shall be performed to ensure that the design stage output meets the design stage input requirements. The design verification measures will be recorded.
 Design verification may include activities such as performing alternative calculations; comparing the new design with a similar proven design, if available; undertaking tests, demonstrations and reviewing the design stage documents before release.

7.3.6 
Design & Development Validation 


Design validation shall be performed to ensure that product conforms to defined user needs and/or requirements. Design validation follows successful design verification. Validation will normally be performed under defined operating conditions Validation will normally performed on the final product. but may be necessary in earlier stages prior to product completion. Multiple validations may be performed if there are different intended uses. Clinical investigation or trials will be undertaken to ensure intended product performance

Records of the results of validation and any necessary actions will be retained

7.3.7 
Design & Development Design Changes.          VOP17   VM3/COP16   QC

All design changes and modifications shall be identified,. Documented, reviewed, recorded and approved by authorised personnel before their implementation. All design changes and modifications are identified, documented recorded reviewed and approved by authorized personnel before their implementation. The review of design and development changes will include evaluation of the effect of the changes on constituent parts and product already delivered.
Records of the results of the review of changes and any necessary actions will be maintained
7.4 Purchasing Charts 11 & 15 

7.4.1 Purchase process     VOP05   VOP06 VOP20   VOP10   VM3/COP 04  VM3/COP 05 VM3/COP06

The organization has documented procedures to ensure that purchased product conforms to specified purchase requirements. The type and extent of control applied to the supplier and the purchased product is dependent upon the effect of the purchased product on subsequent product realization or the final product.

The organization  evaluates and selects suppliers based on their ability to supply product in accordance with the organization’s requirements. Criteria for selection, evaluation and re-evaluation shall be established. Records of the results of evaluations and any necessary actions arising from the evaluation shall be maintained (see 4.2.4).

7.4.2 


  Purchasing information     VM3COP/04   Audit 05

  Purchasing information shall describe the product to be purchased, including where appropriate


Type, brand, identification and/or specification, 

7.4.2a
requirements for approval of product, procedures, processes and equipment Any test certificate, certificates of conformity

7.4.2b
requirements for qualification of personnel,
7.4.2c
quality management system requirements 
The organization ensures the adequacy of specified purchase requirements prior to their communication to the supplier to the extent required for traceability given in 7.5.3.2, the organization shall maintain relevant purchasing information, i.e. documents (see 4.2.3) and records (see 4.24).
Barcoding
7.4.3   Verification of purchased product  VOP06   VOP10 VM3/COP09                 Audit
The organization has established  and implements the inspection or other activities necessary for ensuring that purchased product meets specified purchase requirements.

Where the organization or its customer intends to perform verification at the supplier’s premises, the organization will state the intended verification arrangements and method of product release in the purchasing information  Records of verification will be maintained
Purchasing documents contain, where applicable, the number and issue of any quality standard or regulatory requirement applicable to the product. 


All purchasing documents are reviewed and approved by a Director prior to issue.

Records of the verification shall be maintained (see 4.2.4).

Purchaser Supplied Product Free-issue material is not a part of the company's normal business activities except for repairs.  Where required by contract, the customer will be allowed reasonable access to verify purchased product either at source or at the company’s premises. Where verification is at source, then the supplier is informed on the purchase order.


In this situation the company accepts full responsibility for the effective storage, handling, identification, etc., of customer-supplied product.


All products provided by Viamed Ltd under cover of its Registration, will be procured from a "Quality Assured Source" where possible.

7.5 Production and service provision  VOP14  VOP08   VM3/COP29  VM3/COP09        Audit 15

Purchasing documents are systematically prepared and issued to ensure that all requirements necessary to assure the quality of the items or services concerned are clearly specified. All Purchase Orders will state clearly and fully the products and supporting certification/documentation required from the Manufacturer/Supplier.  


When a customer orders products in accordance with the company's Registration then a Quality Source will be:-Companies listed in the DTI Quality Assurance Register of assessed companies, current issue, and who supply within their declared scope.


Companies assessed by certification bodies outside the UK to equivalent systems.


Where Suppliers have not been approved their products will not be sold without them being clearly identified in the covering documentation. Any product which is not included in the Registration will be clearly identified in the covering documentation so that there can be no misunderstanding on the part of the customer.

The Office Manager will be responsible for the implementation of this procedure

Suppliers performance will be monitored by goods inwards inspection and rejects and/or customer complaints related to supplier


Corrective action will be recorded. 


Control of supplier performance is in accordance with Company Operating Procedures VM/COP/06!!!!!.



Goods Inwards Inspection   Audit 09 VM3/COP05   VM3/COP06

The Purchase Order will clearly state each product’s code number and description.


All incoming consignments will be accepted by the office staff for quantity and description and signed for “UNCHECKED”.


When the Suppliers documents have not been provided the goods will not be taken into stock but will be placed on HOLD until the situation has been corrected.


Products will pass through Quality Assurance for inspection and test to specification or identification and visual as appropriate.  On acceptance they are labeled ‘packed/tested’ and placed in the warehouse.


Rejected products will be suitably identified and placed in quarantine awaiting investigation and/or return to the supplier.


Receipt of goods and rejects on suppliers are controlled in accordance with Procedure VM/COP/05 VM/COP/06.


Quality Plans or inspection sheets must be used where available.

7.5.1
The processes required for production are identified, planned and carried out under controlled conditions, which may include 

7.5.1.1a Information that describes the characteristics of the product  VOP18   VM3/COP29
7.5.1.1b the issue of work instructions, manufacturing specifications and test instructions.  VOP09
7.5.1.1c
the use of suitable equipment

7.5.1.1d
the use of monitoring and measuring devices   VOP18
7.5.1.1.e
the implementation of monitoring and measurement   VOP11   VM3/COP11
7.5.1.1f
The implementation of release, delivery, and post delivery activities

7.5.1.1g
The implementation of defined operations for labeling and packaging  VOP06   VOP07  VM3/COP05

7.5.1.2
Control of product and service provision –Specific requirements. 

7.5.1.2.1 Cleanliness of product and contamination control Documented requirements will be established if
7.5.1.2.1a  product is cleaned by the organization prior to sterilization and/or its use, or
7.5.1.2.1b
product is supplied non-sterile to be subjected to a cleaning process prior to sterilization and/or its use, or
7.5.1.2.1c
product is supplied to be used non-sterile and its cleanliness is of significance in use, or
7.5.1.2.1d 
process agents are to be removed from product during manufacture

If product is cleaned in accordance with a) or b) above, the requirements contained in 6.4 a) and 6.4 b) do not apply prior to the cleaning process.


Where  appropriate, the organization 
WILL  establish documented requirements which contain acceptance criteria for installing and verifying the installation of the medical device.

If the agreed customer requirements allow installation to be performed other than by the organization or its authorized agent, the organization will provide documented requirements for installation and verification.

Records of installation and verification performed by the organization or its authorized agent shall be maintained (see 4.2.4).
7.5.1.2.2 Installation
7.5.1.2.3 Servicing  Repair and Maintenance   Audit 11

The procedures for ensuring that purchaser owned equipment accepted for repair by Viamed Ltd is repaired to the quality standard are contained in Company Procedures VM/COP/09   VOP14


Repair and maintenance of purchaser owned equipment and sub assemblies must where possible be carried out to original specifications (including where applicable authorised modification) in accordance with any other documents necessary to affect a repair


Where customer owned equipment is dismantled, particular care and attention is taken to provide adequate trays and/or containers to ensure identification and segregation of parts so that the equipment can be re-assembled using the original parts.


All replacement parts where possible conform to the same specifications as those parts  which they replace. Where this is not possible, Engineers must be capable of demonstrating that the replacement part(s) is suitable in all respects 


On completion of repair and test the engineer will complete the Service Repair Note and Test Certificate. Records

If repair is impossible the customer will be notified and the product labeled “HOLD” awaiting disposal.


When required Viamed will establish, document, and maintain requirements for health, cleanliness, and clothing of personnel.


In coming products for repair should be cleaned by the customer prior to shipment under DoH documentation (      )

A Viamed Safety Test Certificate following repair/servicing will be issued to the customer where appropriate

7.5.1.3 Sterility


Products requiring sterility will be subject to current regulations regarding sterility. These will be documented and controlled Special Processes when required will be located in the Master Technical File

7.5.2 Validation of processes for production and service provision

7.5.2.1 General Requirements 
The organisation will validate any process for production and service where the resulting output cannot be verified by subsequent monitoring or measurement


This includes any process where deficiencies become apparent only after the product is in use or the service has been delivered.
Validation will demonstrate the ability of these processes to achieve planned results. The organisation will establish arrangements for these processes including as applicable

7.5.2.1a defined criteria for review and approval of the process

7.5.2.1b  approval of equipment and qualified personnel

7.5.2.1c  use of specific methods and procedures

7.5.2.1d   requirements for records (4.2.4) and

7.5.2.1
rerevalidation
The organisation will establish documented procedures for  the validation of application of computer software ( and changes to such software and/or its application) for production and service provision that effects the ability of the product to conform to specified requirements. Such software applications will be validated prior to initial use.

Records of validation shall be maintained

7.5.2.2
When required documented procedures will be established for the validation of sterilization  processes. These processes will be validated before use.
7.5.3 Indentification and Traceability  VOP07  VOP08 VOP09
7.5.3.1 Identification

            The organization will identify the product throughout product realization and has documented procedures for such product identification   Bar codes

The organization has documented procedures to ensure that medical devices returned are identified and distinguished from conforming product  VM3/COP20.03

Labeling is as stated in the MDD requirements or covered by an ISO standard and associated instructions.


All products are traceable to the manufacturer or supplier by part number and/or description.VMCOP/07/06
 Barcodes

Instruments and key components are identified by individual serial numbers, and/or barcodes which give full traceability to office records which fully document specifications for these products The Office Manager will be responsible for ensuring that products in
the warehouse are adequately identified at all times.

All finished product is traceable through records/barcodes to the end user.  

7.5.3.2. Traceability
7.5.3.2.1. General  VOP08 VOP09
The organization has established documented procedures for traceability. Such procedures define the extent of product traceability and the records required (see 4.2.4, & 3 and 8.5).

Where traceability is a requirement, the organization controls and records the unique identification of the product (see 4.2.4).
7.5.3.2.2 Implantable medical devices 


A particular set of requirements will be created if implantable devices are offered.. These will include


Records of components, materials, environmental conditions.


Distributors and agents will be required to maintain records of distribution 


In defining the records required for traceability, the organization shall include records of all components, materials and work environment conditions, if these could cause the medical device not to satisfy its specified requirements.

The organization  requires that its agents or distributors maintain records of the distribution of medical devices to allow traceability and that such records are available for inspection.

Records of the name and address of the shipping package consignee shall be maintained (see 4. a 4). Records of shipping will be recorded

7.5.3.3 Status identification
The organization identifies the product status with respect to monitoring and measurement requirements.

The identification of product status will be maintained throughout production, storage, installation and servicing of the product to ensure that only product that has passed the required inspections and tests (or released under an authorized concession) is dispatched, used or installed.

7.5.4
Customer property  VOP09 VOP19 VM3/COP09  VM3/COP30.02  
The organization exercises care with customer property while it is under the organization’s control or being used by the organization. The organization identifies, verifies, protects and safeguards customer property provided for use or incorporation into the product. If any customer property is lost, damaged or otherwise found to be unsuitable for use, this shall be reported to the customer and records maintained (see 4.2.4).

NOTE Customer property can include intellectual property or confidential health information

7.5.5
Preservation of product Handling Storage ,Packing and delivery  Audit 09   VOP08 VOP09  VM3/COP07   VM3/COP08 

Product Handling

The organization has documented procedures or documented work instructions for preserving the conformity of product during internal processing and delivery to the intended destination.

This preservation includes identification, handling, packaging, storage and protection. Preservation  also applies to the constituent parts of a product.

The organization has documented procedures or documented work instructions for the control of product with a limited shelf life  or requiring special storage conditions. Such special storage conditions are  controlled and recorded (see 4.2.4).     VOP07

Products will be stored in an adequate, secure and appropriately controlled environment Methods of handling and adequate handling facilities will be provided to prevent abuse, misuse, damage or deterioration during all phases of handling/storage/packing.


It will be the responsibility of the Warehouse Manager to ensure that adequate facilities are available.


Items in the main store will be identified by labeling Each product will be identified in the warehouse by the supplier part number and/or description


Incorrect incoming products will be identified and Procedure VM/COP/06 followed


Packaging, Delivery and Installation


All products will be appropriately packaged and protected on despatch to ensure their safe arrival and ready identification when received at the customer's premises.


If the customer has any specific requirements these will be considered at the time of the Contract Review.


Products awaiting despatch will be boxed and labelled as appropriate and stored in the 'despatch' area.


The Office Manager will be responsibly for the provision of the necessary packaging.


Installation will be carried out to original manufacturers instructions and current safety regulations and customer specific instructions.


Packing, delivery and installation is carried out in accordance with procedure VM/COP/08.


As necessary HOLD labels will be used to indicate the inspection status of non-conforming product in quarantine.


All Corrective Action will be recorded.


Correction Action will be taken in the warehouse when incorrect product is found.


Corrective Action will be taken when non-conforming product is discovered on picking or assembling for despatch.  


Marked gangways will be kept clear.


Stock rotation on a first-in-first-out basis will be applied for shelf life products and wherever necessary.


Stock levels are held on computer and/or manual records and are controlled by office staff in accordance with Company Operating Procedure VM/COP/07.


Suspect Product in stock shall be withdrawn and investigated and the non-conformance procedure followed. 


Stock subject to deterioration will be monitored at regular intervals set be the manufacturer Rotation of stock (where applicable) is systemized in order to prevent deterioration. 


Sterile stock will be stored in sterile conditions in accordance with documented procedures

Free issue material is not a part of the company’s normal business activities, except for repairs. In this situation the company accepts full responsibility for the effective storage, handling, identification, security etc., of customer-supplied property.


Preservation and delivery of product is controlled to prevent damage, deterioration or loss, according to procedures. Storage areas are identified and adequate methods are in use to ensure authorized receipt and dispatch.
 


Packaging, cleanliness, preservation and marking processes are controlled in accordance with specific requirements


Delivery is controlled after inspection and test in order that protection is given to product during transit to its location. 


Adequate resources are identified and made available to ensure conformity to the above statements. These resources may include such as machinery and equipment, monitoring and measuring items and suitability of delivery controls


Certificates of Conformity/Test


Where requested by a customer a Certificate of Conformance will be provided.


Where Test Certificates are offered by Viamed , information will be retrieved from the 


original manufacturers Certification , checked and then signed accordingly copies of manufacturers Q.C. tests where available will be supplied to the customer and copies filed in Viamed


Certificates of Conformity will be held in the General Office.


The customer order will be used by office staff to prepare the products for Despatch (procedure VM/COP/08).


The Invoice/Despatch Note set provides full details of the products, which have been picked to meet the customer’s order.


When stock is being taken, the product will be checked for code and/or description and any obvious damage or deterioration.


The office staff will be responsible for confirming that the quality of the product in stock has not deteriorated whilst in stock.

7.6 
Control of Monitoring & Measuring Devices          Calibration VOP/11    Chart 18   VM3/COP11 Audit o6
The organization determines the monitoring and measurement to be undertaken and the monitoring and measuring devices needed to provide evidence of conformity of product to determined requirements (see 7.2.1).The organization  has established documented procedures to ensure that monitoring and measurement can be carried out and are carried out in a manner that is consistent with the monitoring and measurement requirements.


Where necessary to ensure valid results, measuring equipment shall

7.6a 
be calibrated or verified at specified intervals, or prior to use, against measurement standards traceable to international or national measurement standards; where no such standards exist, the basis used for calibration or verification shall be recorded

7.6b 
be adjusted or re-adjusted as necessary

7.6c
be identified to enable the calibration status to be determined

7.6d
be safeguarded from adjustments that would invalidate the measurement result;

7.6e.
be safeguarded from adjustments that would invalidate the measurement result;



In addition, the organization assesses and records the validity of the previous measuring results when the equipment is found not to conform to requirements. The organization  takes appropriate action on the equipment and any product affected. Records of the results of calibration and verification are maintained (see 4.2.4).



When used in the monitoring and measurement of specified requirements, the ability of computer software to satisfy the intended application will  be confirmed. This willl be undertaken prior to initial use and reconfirmed as necessary.


NOTE See ISO 10012 for guidance related to measurement management systems.



All equipment prior to dispatch will be tested in accordance with the relevant VM3COP Appendix B


All inspection measuring and test equipment is identified with a unique identification number and calibration status


The Technical Manager will be responsible for the effective operation for the calibration procedure, in accordance with VM/COP/11  VM/COP/09.


It will be possible at all times for the Inspection Status of products to be known by reference to the appropriate documentation


Inspection Status of incoming products will be identified by signature and delivery documentation. VOP/06  COP/05 

These records are assessed when a piece of equipment is found to be inaccurate, in order to enable corrective action to be taken in relation to the non-conforming equipment and any product measured on it. 


8.
Measurement, Analysis and Improvement

8.1 General 
The organization plans and implement the monitoring, measurement, analysis and improvement processes needed

8.1.a 
to demonstrate conformity of the product   VM3COP’s
8.1b 
to ensure conformity of the quality management system, and

8.1.c
to maintain the effectiveness of the quality management system

This shall include determination of applicable methods, including statistical techniques, and the extent of their use.

NOTE National or regional regulations might require documented procedures for implementation and control of the application of statistical techniques.

Personnel responsible for these functions have the necessary skills and experience to carry out the nature, scope and complexity of the activities required.


No product is dispatched until all activities required, by such as checklists, records and other such documentation have been satisfactorily completed, and the necessary data is available and duly Authorized.


Where product conformity cannot be measured, then those processes are reviewed as to acceptable pre-production criteria for process, personnel, equipment and methods. Records of such criteria are retained.


Quality records are established and maintained that give evidence of the product having passed the inspection and test requirements. These records are regularly analysed to assess conformity to specifications, and also to determine any trends likely to subsequently affect product quality. Non-conforming product is identified and, as appropriate segregated, until such time as appropriate action is determined. 


Records of such non-conformities are maintained

8.2
Monitoring and measurement 

8.2.1
Feedback   VOP04

IN order to measure the performance of the quality management system, the organization monitors information relating to whether the organization has met customer requirements.

The methods for obtaining and using this information shall be determined.
The organization has established a documented procedure for a feedback system [see 7.2.3 c)J to provide early warning of quality problems and for input into the corrective and preventive action processes (see 8.5.2 and &5.3).

8.2.2. 
Internal audit   VOP13  VM3/COP13 QC45 GCD01
A plan for internal audits is established, documented and implemented in order to determine the effectiveness of the management system and that it

8.2.2.a. conforms to the planned arrangements (see 7.1), to the requirements of this International Standard and to the quality management system requirements established by the organization, and 

8.2.2.b 
is effectively implemented and maintained.

An audit programme has been planned, taking into consideration the status and importance of the processes and areas to be audited, as well as the results of previous audits. The audit criteria, scope, frequency and methods shall be defined. Selection of auditors and conduct of audits shall ensure objectivity and impartiality of the audit process. Auditors shall not audit their own work.

The responsibilities and requirements for planning and conducting audits, and for reporting results and maintaining records (see 4.2.4) are defined in a documented procedure.

The management responsible for the area being audited shall ensure that actions are taken without undue delay to eliminate detected nonconformities and their causes. Follow-up activities shall include the verification of the actions taken and the reporting of verification results (see 8.5.2).

NOTE See ISO 19011 for guidance related to quality auditing.

8.3      Systems Audits and Reviews VOP13  VM3/COP/13   Chart 07/09/16/18/19   Audit


Appropriately trained and / or experienced personnel (who are not involved in the function or area being audited) carry out the audit program, and the results of the audit are brought to the attention of the person responsible for the area audited.


Internal audits are scheduled so that all departments, procedures, processes are covered within a twelve month period. 


The results of these audits will be recorded. 


Additional audits are undertaken should a serious problem occur, or should preventive measures need to be addressed. 


The results of audits are notified to the relevant Director who satisfies himself that the corrective actions taken have corrected any deficiencies.


The management team undertakes a full management review annually to assess compliance to the requirements and achievement of policies and objectives is still being met. 


This review is to a set agenda and minutes are taken to form the basis of a required program of work.  


Audits and reviews are carried out in accordance with Company Operating  Procedure /COP/13.


Where a Systems Audit indicates a deviation from the written procedures, corrective action will be taken either by amending the procedure when the actions are more effective in achieving the desired result or by reverting the actions back in accordance with the written procedure.  


Each quarter records of non-compliance/customer complaints, will be collated and analyzed by the Managing Director for consideration of any consistent problems or deteriorating trends.


Each quarter Repair records will be analysed by the Managing Director to establish possible preventative action.

In-Process Inspection and Testing


All those in-process checks, or measurements which need to be carried out to confirm that products are to technical requirements will be prescribed.


Special processes when encountered will have detailed procedures written and recorded.

8.2.3 
Monitoring and measurement of processes  VOP15
The organization applies suitable methods for monitoring and, where applicable, measurement of the quality management system processes. These methods demonstrate the ability of the processes to achieve planned results. When planned results are not achieved, correction and corrective action can be taken, as appropriate, to ensure conformity of the product

8.2.4 Monitoring and measurement of product

8.2.4.1 General requirements
The organization  monitors and measures the characteristics of the product to verify that product requirements have been met. This is carried out at appropriate stages of the product realization process in accordance with the planned arrangements (see 7.1) and documented procedures (see 7.5.1.1).

Evidence of conformity with the acceptance criteria is maintained. Records  indicate the person(s) authorizing release of product (see 4.2.4).   VOP06
Product release and service delivery shall not proceed until the planned arrangements (see 7.1) have been satisfactorily completed. Particular requirement for active implantable medical devices and implantable medical devices

The organization shall record (see 4.2.4) the identity of personnel performing any inspection or testing.

8.2.4.2 Particular requirement for active implantable medical devices and implantable medical devices

The organization l records (see 4.2.4) the identity of personnel performing any inspection or testing

8.3 Control of Non-Conforming Products         Audit 13   VOP10  VM3/COP05 VM3/COP06 VM3/COP10   VOP21
The organization ensures that product which does not conform to product requirements is identified and controlled to prevent its unintended use or delivery. The controls and related responsibilities and authorities for dealing with nonconforming product shall be defined in a documented procedure the organization shall deal with nonconforming product by one or more of the following ways
8.3.a  by taking action to eliminate the detected nonconformity

8.3.b  by authorizing its use, release or acceptance under concession;

8.3.c  by taking action to preclude its original intended use or application


The organization ensures that nonconforming product is accepted by concession only if regulatory requirements are met Records of the identity of the person(s) authorizing the concession shall be maintained (see 4.24).

Records of the nature of nonconformities and any subsequent actions taken, including concessions obtained, shall be maintained (see 4.2.4).

When nonconforming product is corrected it shall be subject to re-verification to demonstrate conformity to the requirements.

When nonconforming product is detected after delivery or use has started, the organization shall take action appropriate to the effects, or potential effects, of the nonconformity. 

If product needs to be reworked (one or more times), the organization shall document the rework process in a work instruction that has undergone the same authorization and approval procedure as the original work instruction. Prior to authorization and approval of the worn instruction, a determination of any adverse effect of the rework upon product shall be made and documented (see 4.2.3 and
All products which are non-conforming to technical requirements or specification will be clearly designated as such, and segregated, in accordance with Procedure VM/COP/06. 

A HOLD Label will indicate that there is some uncertainty regarding the future use or disposition of the products involved.. The label will indicate the reason why the products are being held in quarantine and who is responsible for dealing with the matter.

Rejected products awaiting return to the supplier will be suitably identified by labels.

This procedure ensures suspect product is isolated to prevent inadvertent use or Dispatch to the customer until a decision is made with regard to its disposal. Non conforming product will only be accepted by concession if it complies fully with regulatory requirements and the identity of the person authorising acceptance will be documented

Products requiring re-work will be subject to standard service procedures (VM/COP/09) and be fully documented

8.4 .
Analysis of Data    13.0
VOP15

The organization shall establish documented procedures to determine, collect and analyse appropriate data to demonstrate the suitability and effectiveness of the quality management system and to evaluate if improvement of the effectiveness of the quality management system can be made.This shall include data generated as a result of monitoring and measurement and from other relevant sources. The analysis of data shall provide information relating to

8.4a
feedback (see 8.2.1),

8.4b
conformity to product requirements (see 7.2.1),

8.4c
characteristics and trends of processes and products including opportunities for preventive action, and suppliers.

Records of the results of the analysis of data shall be maintained (see 4.24).

8.5
Improvement
8.5.1
General

The organization shall identify and implement any changes necessary to ensure and maintain the continued suitability and effectiveness of the quality management system through the use of the quality policy, quality objectives, audit results, analysis of data, corrective and preventive actions and management review.

The organization shall establish documented procedures for the issue and implementation of advisory notices. These procedures shall be capable of being implemented at any time.

Records of all customer complaint investigations shall be maintained (see 4.2.4). If investigation determines that the activities outside the organization contributed to the customer complaint, relevant information shall be exchanged between the organizations involved (see 4.1).

If any customer complaint is not followed by corrective and/or preventive action, the reason shall be authorized (see 5.5.1) and recorded (see 4.24).

If national or regional regulations require notification of adverse events that meet specified reporting criteria, the organization shall establish documented procedures to such notification to regulatory authorities.
8.5.1 Customer Complaints  VOP19 VM3/COP10  Audit 14    VOP10?

8.5.2 The Office Staff will be responsible for dealing with customer complaints on all matters including those related to service and product quality.  All customer complaints will be recorded. Results of all complaints will be forwarded to the customer upon completion of the investigation


On receipt of a complaint from the customer involving the quality of the product supplied and depending on the circumstances, the office staff may arrange for either a visit by Viamed staff to discuss the problem or arrange for the product to be returned for investigation. 


Goods returned to Viamed will be treated in accordance with non-conformance procedure, and may be the subject of a repair. Risk analysis will be performed prior to any rework instructions 


If goods are returned due to incorrect information or interpretation of the customer’s requirements, then the goods will be exchanged for the correct goods or a credit note issued.


Customer complaints will be controlled in accordance with Company Operating Procedure VM/COP/10.  Initial Incident Report IIRMDD
8.5.2Corrective action   VOP10  VM3/COP 06  AUDIT 13


The organization shall take action to eliminate the cause of nonconformities in order to prevent recurrence. Corrective actions shall be appropriate to the effects of the nonconformities encountered.

A documented procedure shall be established to define requirements for

8.5.2.a
reviewing nonconformities (including customer complaints),

8.5.2.b
determining the causes of nonconformities

8.5.2.c
evaluating the need for action to ensure that nonconformities do not recur

8.5.2.d
determining and implementing action needed, including, if appropriate, updating documentation (see 4.2),

8.5.2.e
recording of the results of any investigation and of action taken (see 4.2.4), and

8.5.2.f
reviewing the corrective action taken and its effectiveness

8.5.2 
Corrective and Preventive Action    VOP10

Documented procedures are in place to ensure that timely and effective action is taken to ensure that Non-conformities are regularly reviewed to determine their root cause.


Where these are found, then corrective actions are undertaken to bring product back to specification.


Reviews of such actions are regularly undertaken within the above stated “Analysis of data” and “Analysis & Improvement sections. These reviews will determine whether the cause of any non-conformities needs to be eliminated, and the responsibility for such elimination.


Regular reviews are undertaken to assess potential causes of problems. Such reviews will result in any possible actions being highlighted and acted on.


Recall of Suspect Product


In the event that it is discovered that suspect product has been delivered to a customer, the Managing Director will be responsible for informing the customer and making the necessary arrangements for the return, replacement, etc, of the products in question (VM/COP/10). 


On return to the warehouse the material will be treated in accordance with the non-conformance procedure.


Product recall and reporting of incidents     Initial Incident Report IIRMDD

Product recall and reporting of incidents will be in accordance with the MHRA  requirements, CMDCAS , and any other International body in countries to which goods are exported

8.5.3
Preventive action   VOP15   VM3/COP10
The organization shall determine action to eliminate the causes of potential nonconformities in order to prevent their occurrence. Preventive actions shall be appropriate to the effects of the potential problems.

A documented procedure shall be established to define requirements for

8.5.3.a
Determining potential nonconformities and their causes,

8.5.3.b
evaluating the need for action to prevent occurrence of nonconformities

8.5.3.c
determining and implementing action needed

8.5.3.d
recording of the results of any investigations and of action taken (see 4.2.4), ande)
reviewing preventive action taken and its effectiveness

Appendix – A

Procedure No


Title





Owner
VOP/01


Documentation



Quality

VOP/02


Responsibilities



Directors

VOP/03


Office Procedures



Sales

VOP/04


U.K. & Export Sales



Sales

VOP/05


Purchasing




Directors

VOP/06


Inspection & Test



Production

VOP/07


Handling, Storage etc.



Production

VOP/08


Production




Production

VOP/09


Repairs




Production

VOP/10


Non-conforming Product


Quality

VOP/11


Calibration




Technical

VOP/12


Training




Directors

VOP/13


Internal Audits



Quality

VOP/14


Servicing




Sales

VOP/15


Data & Information Analysis


Quality

VOP/16


Health & Safety



Quality

VOP/17


Design & Development


Technical

VOP/18


Maintenance & Environment


Directors

VOP/19


Repairs Testing



Production

VOP/20


Goods-in




Production

VOP/21


Customer Complaints



Directors

VOP/21


Picking & Packing



Production
Appendix - B
VM3/COP/30


Sp02 Probe Criteria Procedures

Production

VM3/COP/31


Probe Repair Procedures


Production

VM3/COP/32


Probe Assembly Procedures


Production

VM3/COP/33


Extension Cable Procedures


Production

VM3/COP/34


Temperature Probe Procedures

Production

VM3/COP/35


“Y” Probe Procedures



Production

VM3/COP/36


Microstim Procedures



Technical

VM3/COP/37


Oxygen Sensors Procedures


Production

VM3/COP/38


Oxygen Analysers Procedures

Technical

VM3/COP/39


Oxygen Sensor Holder Procedures

Production

VM3/COP/40


Vandagraph Procedures


Vandagraph

VM3/COP/43


ECG Monitors Procedures


Technical

VM3/COP/45


DL3000 Procedures



Technical

VM3/COP/46


Pippa Procedures



Production

VM3/COP/47


Apgar Timer Procedures


Production

VM3/COP/48


NIBP Calibration Procedures


Technical

VM3/COP/49


Defibrillators Procedures


Technical

VM3/COP/50


Tom Thumb Procedures


Production

VM3/COP/51


Resuscitation Cabinet Procedures

Production

VM3/COP/52


Headbox Procedures



Production

VM3/COP/53


Nufer Procedures



Production

VM3/COP/54


Mixcheq Procedures



Technical

Appendix – C
QC 01

Duplicate Order Book

QC 21

Non-conformance Report

QC 02

Stock Record


QC 22

Job Description & Spec

QC 03

Invoice



QC 23

Estimated Timescales

QC 04

Purchase Order

QC 24

Design Review

QC 05

Investigation Report

QC 25

Progress Plan

QC 06

Supplier Questionnaire
QC 26

Work Log

QC 07

Training Requirements
QC 27

Purchases

QC 08

G.R.N.



QC 28

Design Changes

QC 09

S.R.N.



QC 29

Document Checklist

QC 10

Electrical Safety Test

QC 30

Project Validation

QC 11

Customer Complaints Index
QC 31

Daily Repair Log

QC 12

Customer Complaints Form
QC 32

Daily Production Log

QC 13

C. of C.


QC 33

Tom Thumb Test Sheets

QC 14

Calibration Register

QC 15

Calibration Record

QC 16

Training Record

QC 17

Internal Audit Checklist

QC 18

Internal Audit Report

QC 19

Stock Transfer Note

QC 20

Document Update

Purchase Order (specials)




Supplier Register





Advice Note






Customer Orders





CE Technical Files

Design Files

MDA Correspondence

CMDCAS Correspondence

Competent Authority Correspondence

Notified Body Correspondence

Induction procedures

Quality Process Manual issue 3  v1.3       Last printed 04/06/2006 13:13    Page 1 of 28
 FILENAME 
Quality Process Manual issue 3  v1.3


