Flammability & Fire Risk Apgar Clock

Fire needs three components 

Oxygen

Flammable material 

Source of heat or flame.

To answer the question is it a fire risk only the three following questions need to be answered.

	Is Oxygen at levels above 21% present
	?
	Used in Air but see residual risk IDDoc 7704

	Is there any flammable components
	Y
	Plastic enclosure  T1

	Is there a source of heat or flame
	N
	Battery present 

	Comments


	Does this constitute a risk   E3. E4, E5, E8, E11

NO


J.S.Lamb
18/12/17
Flammability & Fire Risk Microstim.doc                                                                              1                                                18/12/17

