1 Structure of the Main Product File (PHA), Responsibility and Update QMB
      Structure of this product Main file, responsibility and control system
1.1 Structure and Responsibilities / Structure and Responsibility

2 Conformity Evaluation / Conformity Evaluation R & D
2.1 Classification / Classification?
2.2 List of basic requirements acc. MDD / Application of Essential Requirements?
2.3 List of applied standards / List of applied standards *?
2.4 Risk management file **?
2.5 Clinical Evaluation / Performance Evaluation (Studies) / Clinical and / or Performance Evaluation **?
2.6 EC Declaration of Conformity / EC-Declaration of Conformity *?
2.7 Sales approval / sales approval?

3 Product Documentation / Product documentation R & D
3.1 Documentation of Design Changes / Product History File?
3.2 Technical requirements (specifications, specifications) / Functional Requirements Specification?
3.3 Technical data, drawings, material specification. / Technical description, drawings, materials?
3.4 Verification and Validation Plan / Verification and Validation plan?
3.5 Test Reports / Test Reports
3.5.1 Performance data and their evaluation (laboratory) / Performance Data and Evaluation **?
3.5.2 Durability and Stability Tests?
3.5.3 Traceability?
3.5.4 Interference / Interference?
3.5.5 Electrical Safety / Electrical Safety *?
3.5.6 EMC / EMC *?
3.5.7 Ergonomics / Usability file *?
3.5.8 Protection against ingress of liquids test *?
3.5.9 Biocompatibility / Biocompatibility *?
3.5.10 Compatibility Checks and Non-Reaction in the System / Compatibility Statement?
3.5.11 Evaluation of Cleaning / Disinfection / Sterilization / Clining / disinfection / sterilization?
3.5.12 Environmental testing (storage, transport, operation) - Temperature, humidity, shock and vibration / Enviromental tests (storage, transport, operaton) - temparature, humidity, shock, vibration *?
3.5.13 Summary report, type verification and validation **?
3.5.14 Other / Other?

3.6 Product comparison with already approved products on the market / Comparative product information?
3.7 Software documentation / Software documentation?

4 General and product-accompanying documents PM
4.1 Product Description and Purpose / Identification and Intended Use *?
4.2 Product Variants and Photo Documentation / Product Variation and Photo Documentation *?
4.3 Approved Accessories and Supplies / Approved Auxiliary Equipment *?
4.4 Instructions for Use, Package Insert, Labeling / User Manual, Labeling and Markings?
4.5 Overview of Approvals and Free Sales Certificates / Overview Approvals, Certificates?
4.6 Marketing Documents / Marketing Documents?

5 Production Documents / Manufactoring Documents FTV
5.1 Changes in the Manufacturing Process / Manufacturing Process History?
5.2 Short description Production Process (Flow Chart) / Production Master Plan *?
5.3 Validation of the Production Process and Process FMEA / Validation of Production Process?
5.4 Working and. Test Instructions / Work and Test Instruction?
5.5 Foreign parts data sheets, initial sample inspection report / Purchase Part Specification, First article inspection?
5.6 Production and Test Specification (PTS) / Production and Test specification *?
5.7 Packaging and Labeling / Packaging and Labeling *?
5.8 Production approval / Production assessment?

6 Registration Documents / Approval Assessment supporting documents * QMB
6.1 Summary of Test Reports, Performance Data, Durability and Stability, Traceability and Interference / Summary of test reports performance data, stability, traceability and interference?
6.2 Summary Report Type Verification and Validation / Type Testing Summary (TTS)?
6.3 Summary Clinical Trial and / or Performance Assessment (Studies) / Clinical and / or performance Evaluation Summary?
6.4 Copy / Hyperlink of Test Reports Electr. Safety, EMC, Environment, Biocompatibility etc.?
6.5 General Material Specification / General Material Specification?
6.6 Summary of the Risk Management File / Risk Management Summary?
6.7 Summary Software Documentation / Software Documentation Summary?

7 Product monitoring / Customer feedback Service / PM / QM
7.1 Messages in accordance with the Medical Devices Monitoring and Reporting System / Vigilance Guideline?
7.2 Complaint Handling / Complaint Handling?
7.3 Service / Repair / Service instructions?

8 Purchase / Purchase Purchase
8.1 Documentation of purchased parts, third-party manufacturing and supplier quality agreements / Purchased Assemblies, and Manufacturing and Quality Assurance Agreements?
8.2 OEM purchased parts and their certificates / OEM components and their certificates?
8.3 Supplier Evaluation / Evaluation of suppliers?
 Note: File in the shopping folders

9 archive

10 Explanations on the publication of documents

Documents with *
The document is public and can be issued by Sales / PM or is to be made available to the sales / marketing in copy. It should not contain any information about our know-how
Documents with **
Here is a summary for the PM to create, which can be published without hesitation.
2.6
CE declaration of conformity:
Filing / hyperlink in German and English once with signature and once without signature (in case of authentication)
4.4
Instructions for use, package leaflet, marking:
There is a Master GA incl. Instruction leaflet, which is maintained by Development and PM in the Product Main Act, all further translations are the responsibility of the PM or Area Manager.
5.2
Short description Production process:
In the event that our TÜV certificates are insufficient, a copy of the process flow chart (including test steps) and a brief description of these steps with acceptance criteria must be included.
6.1
Summary of the test reports, performance data etc .:
Listing of the planning of the test / verification / validation, general presentation of the implementations, care must be taken that no information about our product know-how is issued.
6.2
Summary Report Type Verification and Validation:
The main component is the listing of the proof of performance data for the analysis and measuring process of our products (laboratory analyzes / durability and stability test / traceability / interference and cross-sensitivities)
6.3
Summary Clinical Trial and / or Performance Assessment:
Abstract Curriculum, study site, study, patient population, etc., including evaluation methods and results
6.4
Copy / hyperlink of test reports Electrical safety, EMC, environment, biocompatibility.
This applies to all test reports by external bodies.
6.6
Risk Management File Main Document:
Not the top-down analysis and FMECA. Attention: hide residual risks, if necessary.
6.7
Summary Software Documentation:
No information about our product know-how