Tom Thumb Accessories Apart from the bracket all other accessories are supplied /or procured from recognised CE certified manufacturers each having their own CE Technical files.

The NeoPEEP manufactured by Marshall medical is the accessory named in the User Manual.

This product has its own CE mark.
It is designated Single Patient Use.
It comes supplied wit an Instructions for use which includes Pre use Procedure and information on Resuscitation.

NB Viamed has no control over this device except input advice. It can be re-designed by Marshalls at any time. They should advise us before any changes are contemplated.

However other manufacturers manufacture competitive and claimed conformity, products over which we have no control and may not know about them until a customer informs us.

John S Lamb
10:59:24 AM