Tom Thumb accessories are supplied /or procured from recognized CE certified manufacturers, each having their own CE Technical files.

The NeoPEEP neonatal resuscitation circuit is manufactured by Three Lions Ltd (China), distributed in the UK by Marshall Airway Products Ltd. and supplied to us via Bunzl Healthcare.

1. This product has its own CE mark.
2. It is designated Single Patient Use.
3. It comes supplied with an Instructions for Use, which includes pre- use procedure and information on resuscitation.

NB Viamed has no control over this accessory, except input advice. It can be re-designed by Marshall Medical Products at any time. They should advise us before any changes are implemented.

However, other manufacturers produce competitive and claimed conformity products, of which we have no control and we may not have prior knowledge of them until a customer informs us.

John S Lamb
10:59:24 AM