Job Description & Specification Brief QC22
Project:
Requested By
Name / Position
Address
Telephone No
Origination Date

Device Class: I : IIa : IIb: III

		Description/Performance		Specification/ Comment	Predicted Risks
1		Intended Use
		General specification
	a	Height
	b	Width
	c	Depth
	d	Weight
2		Power Requirements
	a	AC/DC
	b	Voltage
	c	Frequency
	d	Wattage Normal
	e	Wattage at swith on mode
	f	Wattage in sleep mode
	g	Battery specification
	h	Battery life
	i	Battery size
	j	Battery type
3		Physical
	a	Colour
	b	Material
	c	Visual acuity
	d	Mounting

4		Display
	a	Accuracy
	b	Resolution
	c	Usage continuous Y / N
	d	Calibration
	e	User controls
	f	Stability
	g	Response time
	h	External conditions affecting accuracy
5		Alarms
6		Accessories
7		Desired Appropriate Standards
	a	IEC 606.01 EMC
	b	IEC 606-02 EMC
	c	IEC 601 Safety
	d	MDD Essential Requirements
	e
	f
	g
8		Final Design Tests Required
	a	In-house
	b	External
	c	3rd Party testing
	d	Special Tests
9		Acceptance test Criteria
10		Trial Requirements
		Clinical trials
11		Maintenance
	a	Manual
	b	On-site
	c	Return to base
	d	Overseas sales
	e	Lifespan
12		Software
		Repeatability
		Reliability
13		Packaging
	a	Breakage
	b	Contamination
	c	Storage conditions
14		Accesssories
	a	Detachable components
	b	Sterile /Single use
15		Environment
	a	Vibration
	b	Noise
	c	Radiation
	d	Magnetic
	e	Electrostatic
	f	EMC IN / out
	g	Heat
	h	Flame
	i	Latex
	j	Volume
	k	Pressure
	l	Electric shock
	m	Ingress of moisture
	n	Ingress of dust
	o	Cross infection
	p	Frequency of patient exposure
	q	Duration of patient exposure
	r	Current Technology used
	s	Construction
	t	Current medical practices
	u	Health & safety of patient
	v	Health & safety of user
	w	Intended use
	x	Possible misuse
	y	Possible side effects
	z	Ergonomical features
	aa	Ease of use
	bb	Blood products
	cc	Animal products
	dd	Sterile /Single use
	ee	Mechanical stability
	ff	Gas supplies
	gg	Hydrolic supplies
	hh	Calibration
	ii	Ageing
	jj	Flow rates
	kk	Reaction with other equipment
	ll	Reciprocal interference
	mm	Operating temperature
	nn	Storage temperature
	oo	Operating altitude
	pp	Storage altitude
	qq	Operating Relative Humidity
	rr	Storage Relative Humidity
	ss	Waterproofing /spill resistance
	tt	Cleaning and disinfection
	uu	Disposal of product
16		Notified Body required Y/N
17		User manual
	a	Cleaning
	b	Intended purpose
18		Clinical Benefit/Risk
QC 22