## Sheet1
Stock_ Reference	Description	Supplier AC	Supplier Name	Rating
320221	Pole Clamp without slide bracket.	00007317	Inspiration Healthcare Limited	A
320103	Tom Thumb Rectangular Mounting Block.	00009022	Tanda Engineering Ltd	A
330185	Wing Nut Screw Black 25mm Thread	00009032	R & L Enterprises Ltd	A
330190	Universal clamp - 44mm horizontal	00009032	R & L Enterprises Ltd	A
330191	Clamp Spacer	00009032	R & L Enterprises Ltd	A
330201	TT480/490 MAIN Body Block	00009032	R & L Enterprises Ltd	A
330205	Flowmeter Meter Bolt	00009032	R & L Enterprises Ltd	A
330206	Blocking Bolt And Nut	00009032	R & L Enterprises Ltd	A
330208	Inlet 10 mm	00009032	R & L Enterprises Ltd	A
330209	Outlet 15mm	00009032	R & L Enterprises Ltd	A
330224	Precision Valve Body	00009032	R & L Enterprises Ltd	A
330225	Precision/Adjustable Valve Seating	00009032	R & L Enterprises Ltd	A
330227	Precision/Adjustable Valve Seat	00009032	R & L Enterprises Ltd	A
330228	Precision Valve Adjustment Screw	00009032	R & L Enterprises Ltd	A
330229	Adjustable Valve Body	00009032	R & L Enterprises Ltd	A
330230	Adjustable Valve Screw	00009032	R & L Enterprises Ltd	A
330231	Adjustable Valve Internal Stop	00009032	R & L Enterprises Ltd	A
330232	Adjustable Valve Collar	00009032	R & L Enterprises Ltd	A
330233	Adjustable Valve Centre Screw	00009032	R & L Enterprises Ltd	A
330234	Adjustable Valve Side Screw	00009032	R & L Enterprises Ltd	A
330242	Medirail Mounting Bracket	00009032	R & L Enterprises Ltd	A
330216	Screws For Clamp M5	00009061	Farnell	A
330234	Adjustable Valve Side Screw	00009073	Modern Screws	B
330243	Adjustable Valve Side Screw. Bag 100	00009073	Modern Screws	B
330193	Pressure gauge: 63mm dial -5 to +60 cmWG	00009097	GNW - Gauges North West Ins	B
330210	Precision Valve	00009117	JNK Tooling	C
330211	Adjustable Valve	00009117	JNK Tooling	C
330224	Precision Valve Body	00009117	JNK Tooling	C
330227	Precision/Adjustable Valve Seat	00009117	JNK Tooling	C
330228	Precision Valve Adjustment Screw	00009117	JNK Tooling	C
330230	Adjustable Valve Screw	00009117	JNK Tooling	C
330234	Adjustable Valve Side Screw	00009117	JNK Tooling	C
330235	Inlet Restrictor	00009117	JNK Tooling	C
330207	Blanking Bolt	00009123	RS Components Ltd	A
330213	O Ring Thick	00009123	RS Components Ltd	A
330214	O Ring Thin	00009123	RS Components Ltd	A
330216	Screws For Clamp M5	00009123	RS Components Ltd	A
330220	Fomblin OT20 Grease 100g tube	00009123	RS Components Ltd	A
330221	Lock Tight	00009123	RS Components Ltd	A
330296	Blanking Bolt	00009123	RS Components Ltd	A
320060	Flowmeter (Oxygen) 0-15 Lpm.	00009150	Therapy Equipment Ltd	B
330030	Dovetail (male)	00009150	Therapy Equipment Ltd	B
330055	Universal clamp - 44mm horizontal	00009150	Therapy Equipment Ltd	B
330204	Flowmeter (air) 0-15 Lpm	00009150	Therapy Equipment Ltd	B
330212	Gauge Seal	00009150	Therapy Equipment Ltd	B
330217	Oxygen hose 1m. C/W indirect probe &	00009150	Therapy Equipment Ltd	B
330218	Oxygen Hose 3m. C/W indirect probe &	00009150	Therapy Equipment Ltd	B
330250	Oxygen hose 1.5m. C/W DIN fitting:	00009150	Therapy Equipment Ltd	B
330251	Oxygen hose 3.0m. C/W DIN fitting:	00009150	Therapy Equipment Ltd	B
330263	Oxygen Hose 2m. C/W indirect probe &	00009150	Therapy Equipment Ltd	B
330268	Air Hose 3m. C/W indirect probe &	00009150	Therapy Equipment Ltd	B
390006	Tom Thumb Instruction Manual	00009345	Duffield Printers	A
390007	Tom Thumb Instruction Manual	00009345	Duffield Printers	A
350120	Packing box for Tom Thumb TT480.	00009353	Rajapack Ltd	B
350121	Packing box for Tom Thumb TT490 Series.	00009353	Rajapack Ltd	B
390004	Leaflet - Tom Thumb Infant Resuscitator.	00009360	Print Centre	B
390004	Leaflet - Tom Thumb Infant Resuscitator.	00009363	ACI Print Group Impress Print	B
390003	Tom Thumb Instruction Manual	00009366	Warwick Printing	B
390006	Tom Thumb Instruction Manual	00009366	Warwick Printing	B
3210011	NeoPEEP neonatal single patient use	00009602	Bunzl Healthcare	B
3210071	Single use silicone round facemask	00009602	Bunzl Healthcare	B
3210011	NeoPEEP neonatal single patient use	00009721	Marshall Products Limited	B
3210071	Single use silicone round facemask	00009721	Marshall Products Limited	B
330800	Label - pressure control for Tom Thumb	00009930	Renlim Labels	B
330200	TT460 MAIN Body Block	00010160	KSJ Engineering Limited	B
330201	TT480/490 MAIN Body Block	00010160	KSJ Engineering Limited	B
330202	TT495 MAIN Body Block	00010160	KSJ Engineering Limited	B
330205	Flowmeter Meter Bolt	00010160	KSJ Engineering Limited	B
330206	Blocking Bolt And Nut	00010160	KSJ Engineering Limited	B
330208	Inlet 10 mm	00010160	KSJ Engineering Limited	B
330209	Outlet 15mm	00010160	KSJ Engineering Limited	B
330215	Clamp Spacer	00010160	KSJ Engineering Limited	B
330241	TT480/490 MAIN Body Block	00010160	KSJ Engineering Limited	B
330246	Blocking Bolt And Nut	00010160	KSJ Engineering Limited	B
330248	Inlet 10 mm	00010160	KSJ Engineering Limited	B
330249	Outlet 15mm	00010160	KSJ Engineering Limited	B
330295	Outlet 10mm do not use	00010160	KSJ Engineering Limited	B
330203	Pressure gauge for `Tom Thumb` Infant	00010395	Wika Instruments Ltd	B
330236	Replacement Gauge Face.	00010395	Wika Instruments Ltd	B
390015	Tom Thumb label	00010665	Pendle Signs & Plastics Ltd.	B
390016	Address label for Tom Thumb gauge.	00010665	Pendle Signs & Plastics Ltd.	B
390017	Gauge label - Tom Thumb	00010665	Pendle Signs & Plastics Ltd.	B
330200	TT460 MAIN Body Block	00010725	MAJ Hi-Spec Ltd	B
330201	TT480/490 MAIN Body Block	00010725	MAJ Hi-Spec Ltd	B
330202	TT495 MAIN Body Block	00010725	MAJ Hi-Spec Ltd	B
330205	Flowmeter Meter Bolt	00010725	MAJ Hi-Spec Ltd	B
330206	Blocking Bolt And Nut	00010725	MAJ Hi-Spec Ltd	B
330207	Blanking Bolt	00010725	MAJ Hi-Spec Ltd	B
330208	Inlet 10 mm	00010725	MAJ Hi-Spec Ltd	B
330209	Outlet 15mm	00010725	MAJ Hi-Spec Ltd	B
330219	Right Angle For Hose	00010770	Chelmer Pneumatics Ltd	B
330222	Precision Valve Spring	00012028	Harlow Springs Limited	B
330223	Adjustable Valve Spring	00012028	Harlow Springs Limited	B
330300	Key Ring chain 1 inch ball	00012395	Seton	B