Tom Thumb ingress of water.
The Tom Thumb is subjected to gas flows through it.
The gas may be humidified to 100% RH.
Condensation may them take place inside the Tom Thumb.
Once humidity stops the residue will evapourate.and positive flow invreases this effect

This has not proven to be a problem since 1993 with its introduction.

The gas is supplied via a EN standard component logged by a recognised 3rd party.
No access to moisture unless it is removed from the circuit.
Whilst connected only the variable valve has access to moisture
During operation positive pressure remove possibility of moisture ingress
Blood and other contaminants have no method of entry due to construction. Positive pressure gas input ensures any dust is expelled,

John S lamb
09/21/17