New project Design File Content


It is important that the original design procedure VM3COP 16 Design be incorporated in its entirety when using Intrastat Projects.

It is recognised that “Goldmine” or its replacement will contain updates and design reviews. These items must be attached to the Instrastat project file or the relevant QC form manually filled in.

Attached is VM3/COP16 design.

The mail points for transition are

QC22 Job description & Specification
section 7.1.2  /  7.4.5

All preliminary notes and sketches should be scanned and added to minutes

Final test criteria for design compliance should be recorded







Section 7.4.7

All aspects of the project should be discussed so that there is no ambiguous or conflicting ( with existing products or standards or MDD requirements etc.) requirements. Any found should be recorded or resolved and recorded

QC23 Timescale. 



Section 7.2.1 

Although not realistic a rough plan of Timescale and resources required needed should be established.

QC25  Progress form 



section 7.2.2

Can be totally electronic and be incorporated in the minutes of Project meeting

QC29 Checklist  



section 7.2.4

which should be a tick list of the various processes required throughout the design programme

QC24 Design reviews



section 7.5

QC27  Design changes

Design reviews can now be totally electronic but must be available in the project design file for scrutiny

QC27  Purchases
is an internal document to record costs of project

QC26  Project Logs     is an internal document to record costs of project

QC30 Project Validation


section 7.10

The project should be validated and examined for future enhancements.

Throughout the design


section 7.4 design compliance needs to recorded and all diagrams and engineering notes scanned and added to file. These diagrams and notes are needed if for the Technical & CE files as a record of product progress.

Relevant documents can be located in Intrastats ISO Document Index.

Using the Search facility.

However the information is logged ot needs to be readily accessed for annual audits 

Audit 03 Design control   & Audit 10 Documentation control

J.S.Lamb

22/05/2007

New Projects design file content.doc      30/07/2007      Page 1 of 2

