OMS Oxygen Sensors


There are three types of OMS Oxygen Analyser.
Professional Dive Oxygen Analyser

[image: image1.jpg]


[image: image2.jpg]


Based on Analox. This analyser  uses the Analox style 9212- sensor. The sensor is distinctive in having a “Pipe” fitting in place of the normal screw thread and uses a push fit to connect the sampling tube. The sensor output is typically 25mV.
The diameter of the hole for the “Pipe” is slightly less than the hole required for the standard screw thread on most sensors.

The Vandagraph equivalent of this sensor is R-33VAN (Photo above right)
NB Although sensors such as the R-33D1 can be fitted into this monitor the hole in the front panel needs to be widened
 

[image: image3.jpg]


[image: image4.jpg]


The professional Dive O2 Analyser II
This version is very similar to the original but instead of using the original Analox sensor with the “Pipe “ end used a screw thread. 

[image: image5.jpg]


The Vandagraph equivalent of this sensor is the     R-33D1




Professional Dive O2 Analyser
[image: image6.jpg]


[image: image7.jpg]


              Figure 8 shaped case.
It uses a low profile sensor with the same screw thread and electrical outputs of the R-22D.  10mV

OMS Pt.No. 01.01323827092


The Vandagraph equivalent is the R-22OMS
[image: image8.jpg]



[image: image9.jpg]



Vandagraph Ltd.  15,Station Road, Crosshills , Keighley, West Yorkshire. BD20 7DT

+44 (0) 1535 634900   Fax: +44 (0) 1535 635582

www.vandagraph.co.uk      email  sales@vandagraph.co.uk 


OMS sensors 070730.doc   30/07/2007        Page 1 of 1

