	VOP

	Viamed Operating sub Process

	INFRASTRUCTURE

	Created:
	27/03/06
	VOP 18
	Issue 1

	Revised:
	23 May 2006
	Last printed 23/05/2006 17:13
	Page 1 of 1

	Charts 02, 11 & 12



MAINTENANCE & ENVIRONMENTAL

The purpose of this procedure is to show the system in operation within the company for the general upkeep of the infrastructure and machinery & tooling. All items of equipment are maintained, though some to a higher degree than others. It the responsibility of Senior Management to ensure that this procedure is adhered to. It is the responsibility of all personnel to ensure that they comply with this procedure and associated documents.

EQUIPMENT
All personnel are to ensure that the equipment supplied to them, to perform their tasks, is kept in good condition. Should any item start to show signs of wear then they must inform their supervisor who will arrange for a replacement. Items of equipment used for measurement and monitoring are controlled by the calibration procedure, but personnel should still be aware of the need to keep them in good condition. Items of machinery in use in the workshop are to be maintained to ensure that they cannot cause adverse injury or product reject. All personnel must strictly adhere to the information notices and complete the appropriate checklists.

Where personnel are given a task, then the relevant resources should be supplied to them. Should they not be supplied, or are not correct, then they should inform their immediate supervisor so as to acquire what is needed. Where it is identified that new machinery will be needed to perform a function, then this will be brought to the attention of Senior Management to arrange.

INFRASTRUCTURE
The workplace environment is maintained by Senior Management to ensure that tasks can be performed adequately. As required, they will ensure that changes to the building, and general workplace, will be improved. Senior Management will also ensure that the internal environment is maintained to a standard that is acceptable to themselves and the workforce.

The software and hardware requirements are determined by the board of Directors as being the best suited to the company’s functions. The Board will also determine up-grades and updates, as and when necessary.

Where necessary special clothing will be purchased to protect personnel own clothing. Anti-bacterial soaps are provided, due to the nature of products and components used, and all personnel are instructed to ensure its use.

Heaters and fans are available to ensure personnel can perform their functions in a temperate environment. Odours and aromas are also controlled with use of strategically situated air-fresheners, and appropriate sanitary disinfectants.

Ergonomically acceptable working areas are provided for all personnel, and should any area found to be not so, then it should be brought to the attention of Senior Management, for action.

The company van, which is used for the transportation of goods, is maintained as recommended by the manufacturer, in addition there is also a daily checklist for use by the driver prior to use of the vehicle.

VOP 18 Maintenance              23/05/2006                       Page 1 of 1


Page 2 of 1

