	

Internal Audit Check list



	Design

	Created:

	17/May 1995
	Audit No 03
	VOP 17

	Revised:
	28 January 2019
	
	Page 13 of 13

	Audit Date
	
	Auditor
	



Sub Processes Linked to Audit 03

Review the below processes tasks and audits and ensure they are completed in a timely manner.

	VST Ltd ISO9001:2015 8.1
	Operational planning and control
The organization shall plan, implement and control the processes (see 4.4) needed to meet the
requirements for the provision of products and services, and to implement the actions determined in
Clause 6, by:
a) determining the requirements for the products and services;
b) establishing criteria for:
1) the processes;
2) the acceptance of products and services;
c) determining the resources needed to achieve conformity to the product and service requirements;
d) implementing control of the processes in accordance with the criteria;
e) determining, maintaining and retaining documented information to the extent necessary:
1) to have confidence that the processes have been carried out as planned;
2) to demonstrate the conformity of products and services to their requirements.
The output of this planning shall be suitable for the organizations operations.
The organization shall control planned changes and review the consequences of unintended changes,
taking action to mitigate any adverse effects, as necessary.
The organization shall ensure that outsourced processes are controlled (see 8.4).
	

	VST Ltd ISO9001:2015 8.3.1 General
	
The organization shall establish, implement and maintain a design and development process that is 
appropriate to ensure the subsequent provision of products and services.
	

	VST Ltd ISO9001:2015 8.3.2
	Design and development planning
In determining the stages and controls for design and development, the organization shall consider: 
a) the nature, duration and complexity of the design and development activities; 
b) the required process stages, including applicable design and development reviews; 
c) the required design and development verification and validation activities; 
d) the responsibilities and authorities involved in the design and development process; 
e) the internal and external resource needs for the design and development of products and services; 
f) the need to control interfaces between persons involved in the design and development process; 
g) the need for involvement of customers and users in the design and development process; 
h) the requirements for subsequent provision of products and services; 
i) the level of control expected for the design and development process by customers and other 
relevant interested parties; 
j) the documented information needed to demonstrate that design and development requirements 
have been met.
	

	VST Ltd ISO9001:2015 8.3.3
	Design and development inputs
The organization shall determine the requirements essential for the specific types of products and 
services to be designed and developed. The organization shall consider: 
a) functional and performance requirements; 
b) information derived from previous similar design and development activities; 
c) statutory and regulatory requirements; 
d) standards or codes of practice that the organization has committed to implement; 
e) potential consequences of failure due to the nature of the products and services. 
Inputs shall be adequate for design and development purposes, complete and unambiguous. 
Conflicting design and development inputs shall be resolved. 
The organization shall retain documented information on design and development inputs.
	

	VST Ltd ISO9001:2015 8.3.4
	Design and development controls
The organization shall apply controls to the design and development process to ensure that: 
a) the results to be achieved are defined; 
b) reviews are conducted to evaluate the ability of the results of design and development to meet 
requirements; 
c) verification activities are conducted to ensure that the design and development outputs meet the 
input requirements; 
d) validation activities are conducted to ensure that the resulting products and services meet the 
requirements for the specified application or intended use; 
e) any necessary actions are taken on problems determined during the reviews, or verification and 
validation activities; 
f) documented information of these activities is retained. 
NOTE Design and development reviews, verification and validation have distinct purposes. They can be 
conducted separately or in any combination, as is suitable for the products and services of the organization.
	

	VST Ltd ISO9001:2015 8.3.5
	Design and development outputs
The organization shall ensure that design and development outputs: 
a) meet the input requirements; 
b) are adequate for the subsequent processes for the provision of products and services; 
c) include or reference monitoring and measuring requirements, as appropriate, and acceptance criteria; 
d) specify the characteristics of the products and services that are essential for their intended purpose 
and their safe and proper provision. 
The organization shall retain documented information on design and development outputs.
	

	VST Ltd ISO9001:2015 8.3.6
	Design and development changes
The organization shall identify, review and control changes made during, or subsequent to, the design 
and development of products and services, to the extent necessary to ensure that there is no adverse 
impact on conformity to requirements. 
The organization shall retain documented information on: 
a) design and development changes; 
b) the results of reviews; 
c) the authorization of the changes; 
d) the actions taken to prevent adverse impacts.
	

	VST Ltd ISO9001:2015 8.5.1
	Control of production and service provision
The organization shall implement production and service provision under controlled conditions. 
Controlled conditions shall include, as applicable: 
a) the availability of documented information that defines: 
1) the characteristics of the products to be produced, the services to be provided, or the activities 
to be performed; 
2) the results to be achieved; 
b) the availability and use of suitable monitoring and measuring resources; 
c) the implementation of monitoring and measurement activities at appropriate stages to verify that 
criteria for control of processes or outputs, and acceptance criteria for products and services, 
have been met; 
d) the use of suitable infrastructure and environment for the operation of processes; 
e) the appointment of competent persons, including any required qualification; 
f) the validation, and periodic revalidation, of the ability to achieve planned results of the processes 
for production and service provision, where the resulting output cannot be verified by subsequent 
monitoring or measurement; 
g) the implementation of actions to prevent human error; 
h) the implementation of release, delivery and post-delivery activities
	

	Viamed Ltd ISO13485:2016 4.2.3 Medical device file
	Documentation requirements
For each medical device type or medical device family, the organization shall establish and maintain one 
or more files either containing or referencing documents generated to demonstrate conformity with the 
requirement of this International Standard and compliance with applicable regulatory requirements. 
The content of the file(s) shall include, but is not limited to: 
a) general description of the medical device, intended use/purpose, and labelling, including any 
instructions for use; 
b) specifications for product; 
c) specifications or procedures for manufacturing, packaging, storage, handling and distribution; 
d) procedures for measuring and monitoring; 
e) as appropriate, requirements for installation; 
f) as appropriate, procedures for servicing.
	

	Viamed Ltd ISO13485:2016 7.1
	Planning of product realization 
The organization shall plan and develop the processes needed for product realization. Planning of 
product realization shall be consistent with the requirements of the other processes of the quality 
management system. 
The organization shall document one or more processes for risk management in product realization. 
Records of risk management activities shall be maintained (see 4.2.5). 

In planning product realization, the organization shall determine the following, as appropriate: 
a) quality objectives and requirements for the product; 
b) the need to establish processes and documents (see 4.2.4) and to provide resources specific to the 
product, including infrastructure and work environment; 
c) required verification, validation, monitoring, measurement, inspection and test, handling, 
storage, distribution and traceability activities specific to the product together with the criteria 
for product acceptance; 
d) records needed to provide evidence that the realization processes and resulting product meet 
requirements (see 4.2.5). 
The output of this planning shall be documented in a form suitable for the organization’s method of 
operations. 
NOTE Further information can be found in ISO 14971.
	

	Viamed Ltd ISO13485:2016 7.3.1
	General
The organization shall document procedures for design and development
	

	Viamed Ltd ISO13485:2016 7.3.10
	Design and development files
The organization shall maintain a design and development file for each medical device type or medical 
device family. This file shall include or reference records generated to demonstrate conformity to the 
requirements for design and development and records for design and development changes.
	

	Viamed Ltd ISO13485:2016 7.3.2
	Design and development planning
The organization shall plan and control the design and development of product. As appropriate, 
design and development planning documents shall be maintained and updated as the design and 
development progresses. 
During design and development planning, the organization shall document: 
a) the design and development stages; 
b) the review(s) needed at each design and development stage; 
c) the verification, validation, and design transfer activities that are appropriate at each design and 
development stage; 
d) the responsibilities and authorities for design and development; 
e) the methods to ensure traceability of design and development outputs to design and 
development inputs; 
f) the resources needed including necessary competence of personnel
	

	Viamed Ltd ISO13485:2016 7.3.3
	Design and development inputs
Inputs relating to product requirements shall be determined and records maintained (see 4.2.5). These 
inputs shall include: 
a) functional, performance, usability and safety requirements, according to the intended use; 
b) applicable regulatory requirements and standards; 
c) applicable output(s) of risk management; 
d) as appropriate, information derived from previous similar designs; 
e) other requirements essential for design and development of the product and processes. 
These inputs shall be reviewed for adequacy and approved. 
Requirements shall be complete, unambiguous, able to be verified or validated, and not in conflict 
with each other. 
NOTE Further information can be found in IEC 62366–1. 
	

	Viamed Ltd ISO13485:2016 7.3.4
	Design and development outputs
Design and development outputs shall: 
a) meet the input requirements for design and development; 
b) provide appropriate information for purchasing, production and service provision; 
c) contain or reference product acceptance criteria; 
d) specify the characteristics of the product that are essential for its safe and proper use. 
The outputs of design and development shall be in a form suitable for verification against the design 
and development inputs and shall be approved prior to release. 
Records of the design and development outputs shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.5
	Design and development review
At suitable stages, systematic reviews of design and development shall be performed in accordance 
with planned and documented arrangements to: 
a) evaluate the ability of the results of design and development to meet requirements; 
b) identify and propose necessary actions. 
Participants in such reviews shall include representatives of functions concerned with the design and 
development stage being reviewed, as well as other specialist personnel. 
Records of the results of the reviews and any necessary actions shall be maintained and include the 
identification of the design under review, the participants involved and the date of the review (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.6
	Design and development verification
Design and development verification shall be performed in accordance with planned and documented 
arrangements to ensure that the design and development outputs have met the design and development 
input requirements. 
The organization shall document verification plans that include methods, acceptance criteria and, as 
appropriate, statistical techniques with rationale for sample size. 
If the intended use requires that the medical device be connected to, or have an interface with, other 
medical device(s), verification shall include confirmation that the design outputs meet design inputs 
when so connected or interfaced. 
Records of the results and conclusions of the verification and necessary actions shall be maintained 
(see 4.2.4 and 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.7
	Design and development validation
Design and development validation shall be performed in accordance with planned and documented 
arrangements to ensure that the resulting product is capable of meeting the requirements for the 
specified application or intended use. 
The organization shall document validation plans that include methods, acceptance criteria, and, as 
appropriate, statistical techniques with rationale for sample size. 
Design validation shall be conducted on representative product. Representative product includes 
initial production units, batches or their equivalents. The rationale for the choice of product used for 
validation shall be recorded (see 4.2.5). 
As part of design and development validation, the organization shall perform clinical evaluations or 
performance evaluations of the medical device in accordance with applicable regulatory requirements. 
A medical device used for clinical evaluation or performance evaluation is not considered to be released 
for use to the customer. 
If the intended use requires that the medical device be connected to, or have an interface with, other 
medical device(s), validation shall include confirmation that the requirements for the specified 
application or intended use have been met when so connected or interfaced. 
Validation shall be completed prior to release for use of the product to the customer. 
Records of the results and conclusion of validation and necessary actions shall be maintained (see 
4.2.4 and 4.2.5). 
	

	Viamed Ltd ISO13485:2016 7.3.8
	Design and development transfer
The organization shall document procedures for transfer of design and development outputs to 
manufacturing. These procedures shall ensure that design and development outputs are verified 
as suitable for manufacturing before becoming final production specifications and that production 
capability can meet product requirements. 
Results and conclusions of the transfer shall be recorded (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.9
	Control of design and development changes
The organization shall document procedures to control design and development changes. The 
organization shall determine the significance of the change to function, performance, usability, safety 
and applicable regulatory requirements for the medical device and its intended use. 
Design and development changes shall be identified. Before implementation, the changes shall be: 
a) reviewed; 
b) verified; 
c) validated, as appropriate; 
d) approved. 
The review of design and development changes shall include evaluation of the effect of the changes on 
constituent parts and product in process or already delivered, inputs or outputs of risk management 
and product realization processes. 
Records of changes, their review and any necessary actions shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.6
	Validation of processes for production and service provision
The organization shall validate any processes for production and service provision where the resulting 
output cannot be or is not verified by subsequent monitoring or measurement and, as a consequence, 
deficiencies become apparent only after the product is in use or the service has been delivered. 
Validation shall demonstrate the ability of these processes to achieve planned results consistently. 
The organization shall document procedures for validation of processes including: 
a) defined criteria for review and approval of the processes; 
b) equipment qualification and qualification of personnel; 
c) use of specific methods, procedures and acceptance criteria; 
d) as appropriate, statistical techniques with rationale for sample sizes 
e) requirements for records (see 4.2.5); 
f) revalidation, including criteria for revalidation; 
g) approval of changes to the processes. 
The organization shall document procedures for the validation of the application of computer software 
used in production and service provision. Such software applications shall be validated prior to initial 
use and, as appropriate, after changes to such software or its application. The specific approach and 
activities associated with software validation and revalidation shall be proportionate to the risk 
associated with the use of the software including the effect on the ability of the product to conform to 
specifications. 
Records of the results and conclusion of validation and necessary actions from the validation shall be 
maintained (see 4.2.4 and 4.2.5).
	


	QUESTION:
	RESPONSE:
	Y/N

	Technical File Reviewed ID:
	
	

	Check that the final design responsibility is a Sole Authority.
	Top management
	

	Check that all products are C.E. marked and Viamed products have a C.E. file.
	Intrastats
	

	Pick 5 Products from the Files product list
	
	

	Declaration on Conformance Certificates present
	
	

	Verify that EMC testing has been identified where required.
	
	

	Are the latest BS ISO MDD, CMDCAS requirements are available List DOCIDS

	
	

	Check that product classification is done to MDD, CMDCAS principles.
	
	

	Verify that each design was initiated from a job description & specification 
	
	

	Has each design has received a job number and a job progress form 
	
	

	Verify the existence of a design documentation checklist.
	
	

	Check that estimated times have been noted. Electronic timing being introdced
	
	

	Have final testing requirements, and test criteria, been identified
	
	

	Have concession notes have been raised on non-approved suppliers
	
	

	Check that current status is identified on a regular basis.
	
	

	Verify that design reviews are undertaken and that records are retained
	
	

	Check that any amendments to design are logged 
	
	

	Check that design output records are verified against design input
	
	

	Does design verification comply with COP 16 - 7.7.1 - .4
	
	

	Check that clinical trials have been carried out and relevant records retained
	
	

	Verify that design validation has been carried out as required by form QC30
	
	

	Check that any design changes have been identified, recorded and approved
	
	

	Have risk analysis has been carried out and recorded at all relevant stages
	
	

	Check that CE files are complete, correct and maintained
	
	

	Are design components kept separate from stock and adequately stored
	
	

	Are design component stocks labelled  
	
	

	Check the existence of design compliance forms 
	
	

	Check that these files are maintained
	
	

	
	
	


	ISO Controller
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 5887
To Keep Products and Services up-to date with current regulations and standards
	235
Managing Director
	
	Freq 2
Risk 2
Overall 4
	Task 3M
	 

	Product Controller
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 7045
	50
Managing Director
	
	Freq 
Risk 
Overall
	Task 2M
	 

	Audits
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 7716
To carry out Audit 03 Design Control Viamed
	
	22
Company Secretary
	Freq 1
Risk 2
Overall 2
	Audit 12M
	 

	PROCESSID 7764
To carry out Audit 03 Design Control VST
	
	193
Company Secretary
	Freq 1
Risk 2
Overall 2
	Audit 12M
	 


            28/01/2019                    Page 13 of 13            


