	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire BD20 7DT - United Kingdom
Tel: +44 1535 634542                 Fax: +44 1535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



Teledyne AX300 Oxygen Analyzer 
& MX300 Oxygen Monitor
Historically the standard units (AX300, MX300) have been sold within the USA and both the standard (AX300, MX300) and ‘international’ versions (AX300-I, MX300-I) have been sold internationally outside of the USA.
Teledyne AX300 
 Oxygen Analyzer   
FDA and CE certified
Teledyne AX300-I
 Oxygen Analyzer 
CE certified
Teledyne MX300 
 Oxygen Monitor   
FDA and CE certified
Teledyne MX300-I
 Oxygen Monitor 
   
CE certified
The standard units have two of the keypad membrane buttons labelled with the wording in English:
ALARM SILENCE
ON/OFF
The keypad of the international version uses the international symbols for ‘alarm silence’ and on/off.

NOTE: 
There are no operational or performance differences between the standard and international versions.
The standard and international versions are both CE certified and are covered by EU Declarations of Conformity issued by Teledyne. Both versions are certified for use within the European Union.

The units are now being rationalized to one variant of each type. The units will be known as the AX300 and MX300, but will use the international version keypad. The only physical difference with the units is that the ‘alarm silence’ and on/off buttons will be labelled with the international symbols, rather than the wording:  ALARM SILENCE, ON/OFF. 
28th March 2019
[image: image1.png]