	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire BD20 7DT - United Kingdom
Tel: +44 1535 634542                 Fax: +44 1535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	0110157 Labelling


Oxygen sensor label 90.0mm x 15.0mm

White vinyl label, text & graphics - black

[image: image1.png]
Gas barrier bag label 63.5mm x 46.6mm

White label, text & graphics – black

[image: image2.png]M VIAMED

15 Station Road * Crass Hilis « Tel: +44 (0)1535 634542
Keighley West Yorkshire + Email: info@viamed.co.uk
BD20 7DT » United Kingdom Website: www.viamed.co.uk

R-17A-LVG Oxygen Sensor

M 2017-11 [
SIN V123456
(NI ®

Depending on the ambisnt conditions the sensor may requive up 1o 30 minutes to reach

signal stabilty afrer installation. The sensor contains caustic Jiquid. In case of leakage
avoid contact with eyes and skin! Recommended storage temperature: 5°C - 15





[image: image3.png]VIRMED R-17A-LVG Oxygen Sensor
15 Station Road « Cross Hills « M SIN V123456
BD30 75T Unitod Kingdom A @ C€  Lome LMD




