[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




– CE FILE 


BS EN ISO Standards.

Standard.
Title.
A / NA

BS EN 60601-1-1 2006
Medical electrical equipment general requirements for safety.
Y

BS EN 60601-1-2
Collateral standard electromagnetic compatibility requirements and tests.
Y

BS EN 60601-2-25
Specification for Blankets /mattresses for patient warming
N

BS EN 60601-2-10
Specification for nerve and muscle stimulators.
N

BS EN 60601-2-19
Specification for incubators
N

BS EN 60601-2-21
Specification for infant radiant warmers
N

BS EN 60601-2-25
Specification for servo-controlled infant radiant warmers.
N

BS EN 60601-2-30
Specification Automatic BP
N

BS EN 60601-2-47
Specification for Ambulatory ECG
N

BS EN 60601-2-50
Phototherapy
N









BS EN 9000:2000
Quality systems.
Y

BS EN 13485:2003
Quality systems. 
Y









BS EN 60601-2-4
Cardiac defibrillators & defibrillator monitors. 
N





BS EN 60601-2-12

EN 794-1
Specification for lung ventilators.
N





BS EN 60601-2-24
Specification for humidifiers.
N





ISO 7767 

BS EN 60601-2.27
specification for oxygen analysers for monitoring breathing mixtures.
Y

BS EN 60601-2-28
Suction equipment.
N

BS EN 60601-2-201

BS EN 865
Pulse oximeters particular requirements.
N

BS EN ISO 9919:2005
Pulse oximeters particular requirements.
N

IEC 878
Graphic symbols for electrical equipment in medical practice.
Y

BS EN 980 
Graphic symbols for use in the labelling of medical devices.
Y

EN 1041
Information supplied by the manufacturer with medical devices.
Y

BS 3849

ISO 5356-1

EN 1281-1
Conical connectors for anaesthetic and respiratory equipment.
Y

BS EN 475
Medical devices electrically generated alarm signals.
Y

EN Standards 080128.doc                      29/01/2008                            Page 1 of 1

[image: image1.jpg][image: image2.png]