[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




– CE FILE 


Product Description:


Risk Analysis Report.

General

Specific use: 

The measurement of Oxygen levels in Medical breathing gases.

Gase may contain Oxygen, Nitrogen  and Helium. The technology is well known and has been used since 1966.

The instrument includes a galvanic micro fuel cell and a digital voltage reaadout

. 

Materials and components used.

All components to RoHs requirements

The enclosure is ABS

No substances are supplied or removed from the patient

The instrument monitors gas passing the sensor

The product is not Sterile when supplied.

The product is not intended to change the patient environment?

Measuring function

Measures the PPO2 of the gas.At 1Bar this is displayed as a percentage

Product explanations

The product is not intended to be  the primary or only method for the control of or interaction with medication?

The product can be sensitive to outside influences;

The sensor is sensitive to Pressure ,temperature and humidity,

It can also be sensitive yo Oxidising gases.

Routine  calibration is necessary:

By the nuser prior to use and every 8 hours

Product does contain software

The instrument is a basic digital voltmeter 

Product has no known long-term effects

Signed   J.S.Lamb

Date:   11/01/07

(E3)  Risk Analysis Report Blu Ox.odt                    29/01/2008 

Page 1 of 1

[image: image1.jpg][image: image2.png]