[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



Blu-Ox CE File


DESCRIPTION OF DEVICE

Generic name of device: Blu-Ox Oxygen Analyser/monitor

Accessories for the device: Quick-Ox gas sampler or various Tee pieces to connect the device into patient circuits. Clamps and brackets allowing the device to be mounted on medical rails /photographic brackets/ and a neck cord

Model name: Depends on use

Model numbers Depend on Use

Brief description of device and other devices designed to be used in combination with it:

The device is a digital meter with readout. The sensor is an electrochemical galvanic oxygen sensor. It can be used to measure the Oxygen concentration in mixed gases in physiological breathing circuits or oxygen enriched atmospheres

C:\Documents and Settings\User\Desktop\Device Description Blue Ox.doc
J S Nirwan
Page 1
28/01/2008

[image: image1.jpg][image: image2.png]