	VOP

	Viamed Operating sub Process

	Amending a document

	Created:
	27/03/06
	VOP 23
	Issue
	3

	Revised:
	23 August 2006
	Last printed 00/00/0000 00:00
	Page 1 of 1 



ISO 13485 2003 and the other standards are living processes and procedures that change ;

Change can be due to:-

New technology

New procedures reflecting working practices

Changes in the rules

Changes in the law

Non conformances

Customer complaints.

If any changes are required the following procedure must be followed;

Call up the process/Chart/Procedure or document

Print out a hard copy

Highlight and annotate the changes to be made

Initial and date

Submit to a Director.

Where a new process or procedure is to be introduced 

Call up  VOP99 Master Blank for a process

VM3COP Master Blank  for a procedure

Write the new procedure and submit it to a Director

When the new or modified document has been approved.

Include in Intrastats Quality manual  and Document Index.

The old document will be archived automatically and will be available for consultation 

 VOP23 Amending a Document.doc     23/08/2006        Page 1 of 1

