Risks of Assembling or Servicing a Tom Thumb
Doc id 15373 VM3COP50.02 Tom Thumb production procedures
Doc id 15375 VM3COP50.01 Tom Thumb TT490
Doc id 22120 VM3COP50.19 TT480 service manual
Doc id 15681 Service Manual Tom Thumb Valves v1.1

Severity Key
1.Negligible Inconvenience or Temporary discomfort
2.Minor: Results in temp injury not requiring Prof. Med. Intervention
3.Serious: Results in injury requiring requiring Prof. Med. Intervention
4.Critical: Results in permanent impairment or life threat. injury
5.Catastrophic: Results in Death

Probability Key
1.Improbable
2.Remote
3.Occasional
4.Probable
5.Frequent

Risk: Dropping the unit
Outcome: Could injure an employee.
Mitigating Actioned Required: Training – the Employee is made aware brass is heavy and would hurt if dropped on your foot probably cause a bruise. Would be advised to put in accident book.
Staff in Warehouse advised to wear Steal Toe Cap Boots.
Severity 1 Probability 2

Risk: No/Too Little Grease applied.
Outcome: Unit mat not be a smooth but would still function 100%. Creates a loud noise as the valve judders.
Mitigating Actioned Required: None, would fail QA.
Severity 1 Probability 2

Risk: Too Much Grease applied.
Outcome: The grease of on the positive pressure side so would leak out the sides of the value.
The unit would still function 100% but would be messy.
Mitigating Actioned Required: None, would fail QA immediately and the unit would have to be stripped back down cleaned and reassembled.
Severity 1 Probability 2

Risk: Springs not placed in the value
Outcome: The Value would not work and not build up pressure.
Mitigating Actioned Required: None, would fail QA immediately and the unit would have to be stripped back down and reassembled.
Severity 1 Probability 1

Risk: 'O' Rings not inserted.
Outcome: Unit would still function 100% but may produce a hissing noise.
Mitigating Actioned Required: None, would fail QA during.
Severity 1 Probability 2

Risk: Inlets/Outlets not fully tightened
Outcome: Unit would still function 100% but may produce a hissing noise
Mitigating Actioned Required: None, would fail QA.
Severity 1 Probability 2

Risk: Dust inside the unit during assembly
Outcome: Unit would function 100%.
Mitigating Actioned Required: None. The high positive pressure of the device would expel any debris out of the unit during testing and QA.
Severity 1 Probability 2

Risk: Leak is not detected by the Snoop® Leak Detection fluid. Manufacturer is unable to provided a minimum amount of flow before a bubble is formed or leak is detected. Simply specifying its very low.
Outcome: Unit will function 100%, at such a low rate the leak will not affect the function of the unit and will have no effect.
Mitigating Actioned Required: None
Severity 1 Probability 1