	VOP

	Viamed Operating sub Process

	GOODS - INWARDS

	Created:
	27/03/06
	VOP 20/01.1
	Issue 1

	Revised:
	21 May 2006
	Last printed 28/03/2006 10:19
	Page 1 of 1

	Charts 06, 17, 21                      QC

08, 09



SCOPE
This procedure defines the system in operation within the company for the control of all goods being received and their subsequent movement to storage / production.

RESPONSIBILITIES
It is the responsibility of the Production Supervisor to ensure that this procedure is adhered to. It is the responsibility of the goods-in operative and office staff to ensure that the procedure is complied with.

PROCEDURE
Upon receipt of goods from suppliers and / or customers, they are first checked for correctness to documentation and complete in quantity; then the details are entered into the goods-in book and the carrier’s paperwork is stamped as “Unchecked”. They are then placed in the quarantine / holding area until such time as they are ready for processing.

When carriers use electronic signatures, or no delivery note is left, a photocopy of the carriers G.R. paperwork is taken. Where no paperwork exists then the goods-in book requires a signature by the carrier.

Repairs products received cannot be processed until such time as an order number is received. When this number is received the information is entered onto “Opera” and also into “Lotus Approach”, the repairs are then placed together with the appropriate paperwork into plastic bags and prioritised into the appropriate duckets.

These duckets are then forwarded to the appropriate department for further processing (either Design or Repair).

Where product is received and requires inspection, then it will be placed in the quarantine area, and Q.A. informed so that the relevant inspections / tests can be performed.

Stock, and proprietary, items are booked in, in the same way, and all information entered onto “Opera” and the goods forwarded to the relevant storage area for stock allocation.

Where goods have been received and found to be incorrect then they will be quarantined and dealt with, as per the relevant section stipulated in the non-conformity procedure VOP/10/01.1

Associated Documents:

Goods-in Book

VOP20.01 GOODS-IN                    21/05/2006                   Page 1 of 1

