[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]






PROJECT VALIDATION

Date/…2……../…Feb……./…2008….

	Project

	
	Subject
	Y/N
	Comments

	1
	Does the finished product meet the original specification
	Y
	

	2
	Is the quality of construction satisfactory
	Y
	

	3
	Will the equipment be durable
	Y
	

	4
	Does it comply with the safety standards
	Y
	

	5
	Does it comply with the MDD
	Y
	

	6
	Has the project remained in budget
	N
	

	7
	Can the project be improved
	?
	

	8
	Can the product be extended
	Y
	Alarms


J.S.Lamb

C:\Documents and Settings\John\Desktop\Blu-Ox CE file under construction 080201b\(Y15) Validation\(K) Project Validation.doc
J S Nirwan
Page 1
06/02/2008

[image: image1.jpg][image: image2.png]