	Design Review

	Project:  Blu-Ox

	Date
	Personnel Present   JSL    P.A.                                / Report

	01/03/06
	Switch

Add switch and Reference voltage

Reference voltage sends a known signal to check the analogue and digital circuits

It can be programmed to be periodically sampling

Failure state is a flashing LCG or preferably 0000

No words for translation problems or use International symbol for failure

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


QC 24








Design Review 20060301   
Page 1
27/03/2006

