Blu-Ox  Costing


	Qty
	Description
	Supplier
	Part No
	Price
	
	
	

	1
	PCB + Graphics 
	Hi Tech
	Blu-Ox V3.0
	20.00
	
	
	

	1
	Interconnect cable
	Hi Tech
	
	1.95
	
	
	

	1
	Potentiometer
	Vishay Farnell
	350-655
	3.55
	
	
	

	1
	On/Off switch
	Schurter Farnell
	150-245
	2.55
	
	
	

	1
	Sealing kit
	Schurter Farnell
	148-921
	0.51
	
	
	

	1
	Jack plug
	Switchcraft
	750
	2.19
	
	
	

	1
	Si Sealant
	
	
	
	
	
	

	1
	Scewlock
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	Electronic costs
	
	30.75
	
	
	

	1
	Enclosure
	
	
	   1.01
	
	
	

	
	Amortised Tooling
	
	
	1.50
	
	
	

	
	Amortised Design
	
	
	1.90
	
	
	

	
	
	
	
	
	
	
	

	1
	Carrying box
	
	
	4.00
	
	
	

	1
	Neck strap
	
	
	1.90
	
	
	

	1
	Key ring
	
	
	1.48
	
	
	

	1
	Quick-ox
	
	
	7.05
	
	
	

	1
	Assembly
	
	
	2.00
	
	
	

	1
	User guide
	
	
	0.50
	
	
	

	1
	O2 Book
	
	
	3.50
	
	
	

	1
	R17Van Sensor
	
	
	16.00
	
	
	

	
	Total
	
	
	72.00
	
	
	

	
	
	
	
	
	
	
	

	
	Cost of Tooling       
	
	
	£14,685
	
	
	

	
	Design costs
	
	
	£12,640
	
	
	


