  [image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




                                         CE File : Microstim.

Index of Documentation.

	Section.
	Description.
	Ref MDD

 / Ref ISO 9001.
	Document.
	A or

NA.
	Done.

	i
	Prelim
	
	Introduction

CD amendment controls
	A
	(

	A
	Location of  documents
	
	Index of documentation 

Location of  documents.
	A
	(

	B
	Certifications.
	Ann II, V, VI
	Declaration of conformity
	A
	

	
	
	
	Notified body 
	A
	(

	
	
	
	BS EN ISO 9001:1994
	A
	(

	C
	Essential requirements
	Art 3 / Ann 1
	Essential requirements 
	A
	(

	
	EN standards
	Ann II para 3.2c
	EN standards
	A
	(

	D
	Classification.
	Ann IX 
	Classification rationale 
	A
	(

	
	
	
	MDD flow charts : Non invasive, Invasive, Active, Special rules. 
	A
	(

	
	
	
	EMC rational
	A
	(

	E
	Risk Management
	Ann I para 1, 2 & 6

Ann II para 3.2c
	Risk analysis Class IIa
	A
	(

	
	
	
	Risk policy & definitions
	A
	(

	
	
	
	Risk Analysis Report
	A
	(

	
	
	
	EN ISO 14971: 2001 Ann  A
	A
	(

	
	
	
	EN ISO 14971: 2001 Ann D
	A
	(

	F


	Device description etc.

Product manuals & labels


	Ann II para 3.1
	Description device etc.
	A
	(

	
	
	Ann II para 3.1
	Accessories
	A
	(

	
	
	Ann I para 13
	Labels
	A
	(

	
	
	Ann I para 13
	Instructions for use
	A
	(

	
	
	
	Maintenance manual
	A
	(

	G
	Product life 
	Para 4.5
	Product life
	A
	(

	
	Product changes
	Ann II, V, VI para 3.4
	Product changes

Proposed product changes
	A
	(

	HI
	Post market surveillance
	Ann II, V, VI para 3.1
	User feedback & complaints
	A
	(

	JK
	Production plan / procedures / responsibilities
	Ann II para 3.1
	Location of responsibilities
	A
	(

	
	
	
	Manufacturing route
	A
	(

	
	
	Ann II para 3.2c
	Work instructions and tests
	A
	(

	
	
	Ann II para 3.2c
	Sub assemblies & circuit diagrams
	NA
	NA

	L
	Literature reviews
	
	Nascor IGLOO system
	A
	(

	M
	Packaging trials and validation
	
	Packaging
	A
	(

	N
	Quality plan
	Ann II para 3.2
	Quality plan
	A
	(

	O
	Sterilisation
	Ann II para 3.2d
	Sterilisation
	A
	(

	PQ
	MCA Licenses
	
	MCA Licenses
	NA
	NA

	R
	510k
	
	
	NA
	NA

	S
	Photographs
	
	
	A
	(

	T
	Specifications of materials
	
	Specifications of Materials
	A
	(

	UV
	Purchase specifications
	
	
	A
	(

	WX
	Parts lists
	
	
	A
	(


	YZ
	Design Files :  
	
	
	
	

	01
	Device History & Theory
	
	
	A
	No

	02
	Specification Brief
	
	
	A
	No

	03
	Confidentiality Agreements
	
	
	A
	No

	04
	Not Used
	
	
	---
	---

	05
	Time Scale
	
	
	A
	No

	06
	Not Used
	
	
	---
	---

	07
	Project Progress
	
	
	A
	No

	08
	Work logs
	
	
	A
	No

	09
	Expenditure
	
	
	A
	No

	10
	Not Used
	
	
	---
	---

	11
	Risk assessment
	
	
	A
	(

	12
	Preliminary drawings
	
	
	A
	(

	13
	Final Drawings
	
	
	A
	(

	14
	Working Drawings
	
	
	A
	(

	15
	Not Used
	
	
	---
	---

	16
	Design Changes
	
	
	A
	(

	17
	Validation
	
	
	A
	(

	18
	Quotations
	
	
	A
	(

	19
	Source codes
	
	
	A
	(

	20
	Design reviews
	
	
	A
	(

	21
	Purchases
	
	
	A
	No

	22
	Test reports
	Ann II para 3.2
	
	A
	No

	23
	Not Used
	
	
	---
	---

	24
	Final inspection & test
	
	
	A
	No

	25
	Type examinations
	Ann V, VI
	
	A
	No

	26
	EMC tests & results
	
	
	A
	No

	27
	Clinical Trial Reports
	Art 15, Annex X
	
	A
	(

	28
	Biocompatiblity
	Ann II para 3.2c
	
	A
	(

	29
	Compatibility Trials
	
	
	A
	(

	30
	Final costings
	
	
	A
	No

	31
	Not Used
	
	
	---
	---


T:\Simon Watmough\Projects\CE files\Microstim\A. Index of Documentation_Microstim_SW.doc

 25/04/03                                                                                                                                                                   Page 2

[image: image1.jpg][image: image2.png]