[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




MICROSTIM DBS_Mk3 – CE FILE

EMC Rationale

Technical Rationale

This instrument is designed to be normally switched off. It can only be used for a few seconds after the function switch is pressed.

It will not be affected by extraneous interference.

It is designed to deliver high current pulses into the patient to enable the ulnar nerves to twitch.

The only reported problem since 1986 has been one suspected case of interference to a pacemaker.

The stimulator, if used correctly, should not be placed on a patient or near the pacemaker location. A warning is given in the instructions.

Details of significant design aspects

1.
Specific Features adopted:
None
2.
Component Specifications:
None Specific
3.
Procedures used to control variants in design & explanation of procedures used to assess if the product should be re-tested:
None
4.
Details of any Theoretical modelling:
None
T:\Kevin Rush\CE Files\CE files current\Microstim_DBS_Mk3\CE File_Microstim_DBS_Mark3\D. Classification\EMC Classification\D. EMC  Rationale_Microstim.doc
02/06/2004                                                                                                                                   Page 1



[image: image1.jpg][image: image2.png]