[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




         MICROSTIM DBS_Mk3 – CE FILE

Device Safety Classification.

IEC 601.1 - General Requirements for Safety

2.1.5 – 
APPLIED PART


Entirety of all parts of EQUIPMENT including the PATIENT leads which come intentionally into contact with the PATIENT to be examined or treated. For some EQUIPMENT, particular standards may consider parts in contact with the operator as an APPLIED PART.


For some EQUIPMENT, an F-TYPE APPLIED PART extends as seen from the PATIENT into the EQUIPMENT to the point(s) where the prescribed insulation and / or protective impedance is completed.

2.1.7 – 
“F” TYPE ISOLATED APPLIED PART
APPLIED PART isolated from all other parts of the EQUIPMENT to such a degree that the PATIENT LEAKAGE CURRENT allowable in SINGLE FAULT CONDITION is not exceeded when a voltage equal to 1.1 times the highest RATED MAINS VOLTAGE is applied between the APPLIED PART and earth.

2.2.24 – 








T:\Kevin Rush\CE Files\CE files current\Microstim_DBS_Mk3\CE File_Microstim_DBS_Mark3\D. Classification\Device Classification\D. Safety Classification_Microstim.doc
02/06/2004
                                                                                                                                   Page 1



[image: image1.jpg][image: image2.png]