[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




MICROSTIM DBS_Mk3 – CE FILE

Description of Device.

Generic name of device: Nerve Stimulator

Model name: Microstim

Model number: DBS Mark 3

Brief description of device and other devices designed to be used in combination with it:
The Microstim DBS-Mk3 stimulator was introduced in 2004 as an updated design to the Microstim DB1000. The Microstim DBS-Mk3 incorporates ????????? features. 

It still relies on the operation of a self-terminating switch. Once the cycle is complete the unit switches off until the switch is pressed again.

The overall casing of the unit has been re-engineered to be more “User” friendly and ergonomically manageable.

The basic electronics have been retained, but the PCB layout has been redesigned to fit with the new casing design.

T:\Kevin Rush\CE Files\CE files current\Microstim_DBS_Mk3\CE File_Microstim_DBS_Mark3\F. Descriptions, Instructions etc\Description\F. Description of Device_Microstim.doc
02/06/2004                                                                                                                                   Page 1



[image: image1.jpg][image: image2.png]