[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                                      MICROSTIM DBS_Mk3 – CE FILE 

Manufacturing Route.

· Viamed order the components and issue Microstim kits to M. Purnell

· The manufacture of the Microstim is carried out by M. Purnell as a sub-contractor

· M. Purnell programmes the micro-controller, then subsequently checks the functionality

· M. Purnell checks the final product prior to shipment to Viamed

· All final products are Q.A. checked at Viamed prior to release to customers

M. Purnell was instrumental in the design and development of both versions of Microstim and is completely trusted to carry out the build of Microstims from component parts and maintain a satisfactory level of workmanship without supervision.

T:\Kevin Rush\CE Files\CE files current\Microstim_DBS_Mk3\CE File_Microstim_DBS_Mark3\JK. Manufacturing\Manufacturing Route(s)\JK. Manufacturing Route_Microstim.doc                                                                                     03/06/2004                                                                                                                                                           Page 1



[image: image1.jpg][image: image2.png]