|  | VIAMED |  | Viamed Limited - 15 Station Road - Cross Hills Keighley -West Yorkshire BD20 7DT - United Kingdom Tel: +44 1535 634542 Fax: +44 1535 635582 Email: info@viamed.co.uk Website: www.viamed.co.uk |
| --- | --- | --- | --- |

| Automotive Oxygen Sensors Compatibility Cross Reference |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Part number | Type | Output | Compatible with sensor | Part number | Type | Output |
| 0110157 | R-17A-LVG | 7.0 – 11.5 mV |  | 0110107 | R-17A-LV | 7.0 – 11.5 mV |
| 0110177 | R-17AVG | 9.0 – 13.0 mV | Compatible with sensors | 0110117 | R-17A | 7.0 – 13.0 mV |
|  |  |  |  | 0110127 | R-17AV | 9.0 – 13.0 mV |
|  |  |  |  | 0110137 | R-17AH | 10.5 – 13.5 mV |
| 0110182 | R-22AVG | 9.0 – 13.0 mV | Compatible with sensors | 0110121 | R-21A | 7.0 – 13.0 mV |
|  |  |  |  | 0110122 | R-22A | 7.0 – 13.0 mV |
|  |  |  |  | 0110131 | R-21AV | 9.0 – 13.0 mV |
|  |  |  |  | 0110132 | R-22AV | 9.0 – 13.0 mV |
|  |  |  |  | 0110142 | R-22AH | 10.5 – 13.5 mV |

2020-03-03