	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire BD20 7DT - United Kingdom
Tel: +44 1535 634542                 Fax: +44 1535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	Oxygen Monitoring 

Cross Reference of Discontinued Teledyne Models



	

	Discontinued Teledyne 

Oxygen Analyzers
	Alternatives

	Part number
	Model
	Comments
	Part number
	Model

	0111230

0111232

0111233

0111234
	AX300
	Direct equivalent
	0111261


	Maxtec MAXO2+AE
(battery powered: 2 x AA)

	
	
	Additional analyzers 

to consider
	0111262
	Maxtec MAXO2+AE

Short cable version, (battery powered: 2 x AA)

	
	
	
	0111260


	Maxtec MAXO2+A internal sensor

(battery powered: 2 x AA)

	
	
	
	0111250
	Maxtec HANDI+ Medical

For spot checking applications, (integrated battery)

	
	
	
	0111275
	Envitec OxiQuant S

CE marked, but not for Medical. Suitable for engineering & laboratory use.

(integrated battery)

	  

	Discontinued Teledyne 

Oxygen Monitors
	Alternatives

	Part number
	Model
	Comments
	Part number
	Model

	0111235

0111237

0111238

0111239
	MX300
	Direct equivalent
	0111263
	Maxtec MAXO2 ME

(battery powered: 4 x AA)

	
	
	Additional monitors 

to consider
	0111276


	Envitec MySign O

(rechargeable battery)

	
	
	
	0111277
	Envitec MySign O

(rechargeable battery & mains powered)

	
	
	
	0111265
	Maxtec Ultramax

Ultrasonic sensor, ideal for checking oxygen concentrators.

(battery powered: 2 x AA)


                                                                                                 
                12-03-2020
[image: image1.png]