[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                               MICROSTIM DBS_Mk3 – CE FILE

Design History

The Microstim was originally designed in MRI by a team of medical Physics Technicians headed by Mr Malcolm Purnell. At the time CE marking did not exist, ISO 9000 was not in operation and it was not until the mid 1990’s that MRI and Viamed achieved ISO 9000 registration.

The current Microstim design is a re-engineered version of the DB1000 (Mark2) version. The majority of the re-design is cosmetic in appearance. The basic electronics have been retained, but the PCB layout has been altered to suit the new re-designed casing.

This Design file therefore, is a new document, and will be updated as and when required. Design and embodied product changes will be recorded, as will any  / all user feedback, reviews etc.

The current Microstim file therefore, can only be re-written as a product already designed and manufactured with a ten-year track record before the current legislation thus:

1. We can complete the risk assessment assuming we were starting now but still with the current design.

2. EMC. The file produced was pre EMC legislation but was tested clinically in severe EMC conditions i.e. theatres. We have to ensure that the existing rationale still holds valid.

T:\Kevin Rush\CE Files\CE files current\Microstim_DBS_Mk3\CE File_Microstim_DBS_Mark3\YZ. Design File\Y. Design Input\01. History and Theory\Y.01 Design History_Microstim.doc


08/06/2004                                                                                                                                             Page 1



[image: image1.jpg][image: image2.png]