	Project Validation

	Project:   Microstim DB1000

	
	Subject
	Y/N
	Comments

	01
	Does the finished product meet the original specification?
	Y
	

	

	02
	Is the quality of construction satisfactory?
	Y
	

	

	03
	Will the equipment be durable?
	Y
	

	

	04
	Does it comply with the Safety standards?
	Y
	

	

	05
	Does it comply with the M.D.D.
	Y
	

	

	06
	Has the project remained within budget?
	Y
	

	

	07
	Can the project be improved?
	Y
	Special Enclosure

	

	08
	Can the product be extended?
	Y
	Possible Digital Visual Outputs

	Date:
	Signed:


QC 30








