AML

Microstim

Battery  door okon sample 

Cable I/P ok

Knob welded

Internal clips to be shaved slightly one week delay

Screen print to be straitened

Photo taken

Battery Polarity OK thiken wall to prevent user abuse risk assessment

Nigel must test in OR cleaning cycles 

Neck strap thread ok

Packaging Ok 

Need standard for barcode

Remove CMDCAS

One serial No from PCB to unit to box

Transformedr lot coded

Dot shows 1OO tedsted

EN 6O94O for print

Need PÔ FOr SPARE inner packaging

Insurance agreement

Agreement on SpO2 with AML and future way forward.

Separate marketing from manufacturing

Need to know production run
Minimum quantities of each type
Send Liming email on LightmanEnvitec prices of SpO2 PCB

AML NEED mARKET needs quantities and prices

