[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                                    Heat  Sheild – CE FILE


Product Life.

Warranty.

12 months

Life of Product.

Estimated 1 – 2 years depending on its treatment by the user.

Acrylic is impervious to most hospital cleaners.

It can be scratched and may break or crack if dropped.

Supply of spares after  production has ceased.

7 years availability of parts.

Service after production has ceased.

Not applicable

G. Product Life_Light Shield.doc
30/03/2008                                                                                                                                                     Page 1



[image: image1.jpg][image: image2.png]