[image: image1.png]


 Ltd      
                   CE File : APGAR Timer.                        
24/02/03.

-----------------------------------------------------------------------------------------------------------------


A : Index of Technical Documentation.

	Section.
	Description.
	MDD ref.
	Document name.
	Status.
	A/NA.
	Done.

	(i)
	CD amendment controls.
	
	CD amendment controls.
	
	
	

	A
	Index & location of documents.
	
	Index of documentation.
	
	
	

	
	
	
	Location of documents.
	
	
	

	B
	Certificates.
	Annex II, V & VI.
	Declaration of conformity : APGAR timer.
	
	
	

	
	
	
	Viamed Ltd : EC QA certification.
	
	
	

	
	
	
	Viamed Ltd : Certificate of registration to BS EN ISO 9001 : 1994.
	
	
	

	
	
	
	Notified body certification.
	
	
	

	
	
	
	Authorised representative.
	
	
	

	C
	Essential requirements & applicable standards.
	Article 3.
	Essential Requirements.
	
	
	

	
	
	Annex II para 3.2c.
	EN Standards.
	
	
	

	D
	Device classification & flowchart.
	Annex IX.

Art II.
	Classification rational.
	
	
	

	D
	Flow Chart.
	
	Rationale Flow Chart
	
	
	

	D1
	EMC Rationale.
	
	EMC Report.
	
	
	

	E
	Risk management.
	Annex II para 3.2c.
	Risk analysis report.
	
	
	

	
	
	
	Risk assessment, EN ISO 14971 Annex A.
	
	
	

	
	
	
	Risk assessment, EN ISO 14971 Annex D.
	
	
	

	F
	Device description.
	Annex II para 3.1.
	Device description, drawing, photos etc.
	
	
	

	
	
	Annex II para 3.1.
	Accessories.
	
	
	

	
	
	Annex I para 13.
	Instructions.

Inserts.
	
	
	

	
	
	Annex I para 13.
	Labels.
	
	
	

	
	
	
	Maintenance manual.
	
	
	

	G
	Product lifespan.
	
	Product Life.
	
	
	

	
	
	Annex II para 3.4.
	Product Changes.
	
	
	

	H
	Analysis of complaints & feedback.
	Annex II para 3.1.
	Analysis of complaints / user feedback.
	
	
	

	IJ
	Manufacturing plan.
	Annex II para 3.1.
	Location of responsibilities.
	
	
	

	
	
	
	Manufacturing route.
	
	
	

	
	
	
	Work instructions and tests.
	
	
	

	
	
	
	Sub assemblies & circuit diagrams.
	
	
	

	K
	Literature reviews.
	
	Literature reviews.
	
	
	

	L
	Packaging trials and validation.
	
	Packaging trials and validation.
	
	
	

	M
	Quality documentation.
	
	Quality Plan.
	
	
	

	N
	Sterilisation.
	
	Sterilisation.
	
	
	

	O
	MCA Licenses.
	
	MCA Licenses.
	
	
	

	PQ
	Design : Input.
	
	Contents.
	
	
	

	
	
	
	Design documentation checklist.
	
	
	

	
	
	
	Specification brief.
	
	
	

	
	
	
	Time scale.
	
	
	

	
	
	
	Job progress.
	
	
	

	
	
	
	Work logs.
	
	
	

	
	
	
	Expenditure.
	
	
	

	
	
	
	Compliance Essential req.
	
	
	

	
	
	
	Preliminary drawings.
	
	
	

	
	
	
	Preliminary drawings.
	
	
	

	
	
	
	Final Drawings.
	
	
	

	
	
	
	Working Drawings.
	
	
	

	
	
	
	Design review.
	
	
	

	
	
	
	Design changes.
	
	
	

	R
	Design : Output.
	Annex II para 3.2.
	Test Reports.
	
	
	

	
	
	Annex V & VI.
	Type examinations  IEC601.
	
	
	

	
	
	
	EMC tests.
	
	
	

	
	
	
	Specification Tests.
	
	
	

	
	
	Art 15, Annex X.
	Clinical Trial Reports.
	
	
	

	
	
	
	Compatibility Trials.
	
	
	

	
	
	Annex II para 3.2c.
	Biocompatiblity.
	
	
	

	
	
	
	Validation.
	
	
	

	S
	Costings.
	
	Final cost.
	
	
	

	T
	Photographs.
	
	Photographs.
	
	
	

	UV
	Specifications of materials.
	
	Specifications of materials.
	
	
	

	XYZ
	Purchase specifications.
	
	Purchase specifications.
	
	
	


T:\Simon Watmough\Projects\APGAR timer_1\(A) Index of Technical Documentation.doc                            
Page 1



[image: image1.png]