  [image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                   APGAR TIMER - CE FILE

Index of Documentation.

	Section
	Description.
	Ref MDD

 / Ref ISO 9001.
	Document.
	Status.
	A/NA.
	Done.

	i
	Preliminary Outline
	
	Introduction

Amendment control
	
	A

A
	√

√

	A
	Index of documentation.

Location of documents
	
	Index of documentation.

Location of documents. 
	
	A

A
	√

√

	B
	EC Declaration of conformance
	Ann II, V, VI
	Certificate(s)
	
	A
	√

	
	Notified body certification
	
	Certificate(s)
	
	A
	√

	
	Certification BS EN ISO 9001:2000
	
	Certificate(s)
	
	A
	√

	
	Certification ISO 13485:2003
	
	Certificate(s)
	
	A
	√

	C
	Essential requirements
	Art 3
	Essential requirements
	
	A
	√

	
	EN standards
	Ann II para 3.2c
	EN Standards
	
	A
	√

	D
	Classification rationale &

Decision Path
	Ann IX 
	Classification rationale
Device Classification

MHRA Rules – Diagram
	
	A

A

A
	√

√

√

	
	EMC Status
	
	EMC rationale 
EMC report
	Update
	A

N/A
	√

--

	E
	Risk analysis Class I
	Ann II para 3.2c
	Certificates
	
	A
	√

	
	Reports
	
	Risk Management Definitions

Risk Analysis Report
	
	A

A
	√

√

	
	EN ISO 14971:2001 Annex A
	
	EN ISO 14971:2001 Annex A
	
	A
	√

	
	EN ISO 14971:2001 Annex D
	
	EN ISO 14971:2001 Annex D
	
	A
	√

	F
	Description of Device 
	Ann II para 3.1
	Description of Device
	Update
	A
	√

	
	
	
	Viamed Timer leaflet
	
	A
	√

	
	Accessories
	Ann II para 3.1
	Description of accessories
	
	A
	√

	
	Instructions 
	Ann I para 13
	User manual
	Update
	A
	√

	
	Labels
	Ann I para 13
	Labels 
	Update
	A
	√

	
	Information
	
	Training Document
	
	N/A
	--

	G
	Maintenance
	
	Service Manual Statement
	
	A
	√

	
	Product life
	Para 4.5
	Product life
	
	A
	√

	
	Product changes
	Ann II,V,VI - 3.4
	Product changes
	
	A
	√

	HI
	Analysis of complaints/user feedback
	Ann II, V, VI para 3.1

Art 15, Annexe X
	Customer complaints, user feedback & Clinical Trials

Product Reviews

Medical Device Alerts
	
	A

A

A

A
	√

√

√

--

	JK
	Location of responsibilities
	Ann II para 3.1
	Location of responsibilities
	Update
	A
	√

	
	Manufacturing route
	
	Manufacturing route
	Update
	A
	√

	
	Work instructions and tests
	
	W.I. & Test Method
	Update
	A
	√

	
	Supplier Information
	
	Major Supplier Details
	Update
	A
	√

	
	Sub assemblies & circuit diagrams
	
	Electro-Technical Drawings
	
	A
	√

	L
	Literature reviews
	
	Various Reviews & Papers
	
	A
	√

	M
	Packaging trials and validation
	
	Packaging Info

Pictorial Info
	Update
	A

A
	√

√

	N
	Quality Assurance
	
	Quality plan

QA Agreements
	Update
	A

A
	√

√

	O
	Sterilisation
	
	Sterilisation Statement
	
	A
	√

	PQ
	Not Used
	
	---------
	
	N/A
	--

	R
	Components Breakdown
	
	Complete Parts List
	Update
	A
	√

	S
	Photographs
	
	Complete Units & Accessories
	
	A
	√

	T
	Specifications of Materials
	
	Copy Spec Sheets
	Update
	A
	√

	UV
	Purchase specifications
	
	Copy Purchase Orders
	Update
	A
	√

	WX 
	Archives
	
	List of Archived Documents
	
	A
	√

	YZ
	Design File – Volume 2
	
	Contents

Design Documentation 
	
	A

A
	√

√


	Section.
	Description.
	Ref MDD

 / Ref ISO 9001.
	Document.
	Status.
	A/NA.
	Done.

	YZ
	Design File – Volume 2
	
	Section Y – Design Input

Section Z – Design Output
	
	A

A
	√

√

	Y (01)
	History & Theory
	
	Design History
Device Theory
	
	A

A
	√

√

	Y (02)
	Specification 
	
	Specification Brief 
	
	A
	√

	Y (03)
	Confidentiality Agreements
	
	Agreements
	
	N/A
	--

	Y (04)
	Design Calculations
	
	Calculations Statement
	
	A
	

	Y (05)
	Time Scale
	
	Viamed Timescales
	
	A
	


	Y (06)
	Design Compliance
	
	Compliance Statement
	
	A
	

	Y (07)
	Project Progress
	
	Design Progress 
	Update
	A
	√

	Y (08)
	Work logs
	
	Statement
	
	A
	

	Y (09)
	Expenditure
	
	Various Quotations
	
	A
	

	Y (10)
	Preliminary drawings
	
	Sketches

Drawings
	
	A

A
	

	Y (11)
	Final Drawings
	
	Final Supplier Drawings
	
	A
	

	
	Working Drawings
	
	Final Viamed Drawings
	Update
	A
	√

	Y (12)
	Design Changes
	
	Design Changes QC 28

Copy Change Details
	
	A

A
	

	Y (13)
	Source codes
	
	Statement
	
	A
	

	Z (14)
	Validation
	
	Project Validation QC30
	
	A
	

	Z (15)
	Design reviews
	
	Reviews / Minutes
	
	A
	

	Z (16)
	Purchases
	
	Final Costings
	
	A
	

	Z (17)
	Test reports
	Ann II para 3.2
	Reports & Results
	
	A
	

	Z (18)
	Final inspection & test
	
	Viamed QA Procedures
	
	A
	

	Z (19)
	Type examinations
	IEC 601
	Test Results
	
	N/A
	--

	Z (20)
	EMC tests & results
	
	Laboratory Results
	
	N/A
	--

	Z (21)
	Bio-compatibility
	Ann II para 3.2c
	Statement
	
	A
	

	Z (22)
	Compatibility Trials
	
	Trials Report

Background Factors
	
	A

A
	

	Z (23)
	Documentation
	
	Checklist QC29
	
	A
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	


A. Index of Documentation_Apgar Timer



 06/01/2005

   Page 2



[image: image1.jpg][image: image2.png]