[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




APGAR TIMER – CE FILE

Description of Device.

Generic name of device: Timer

Model name: Apgar Timer

Model number: 0310100

Brief description of device and other devices designed to be used in combination with it:
It is intended for use with Resuscitation cabinets in Delivery rooms, Operating theatres, and Special Baby Care Units etc.

It is a Start / Freeze / Reset clock used in the compilation of “Apgar Scoring” on newborn infants based on their vital signs, and response to stimulus.

It is designed to be mounted within the cabinet on standard medi-rails via a mounting plate, alternatively it can be stand alone, by the use of the 2 in built camera mount studs.

The scoring of “Apgar” is a recognized technique and is therefore not explained in this document.

F. Description of Device_Apgar Timer
17/12/2004                                                                                                                              Page 1



[image: image1.jpg][image: image2.png]