[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                                                     CE File : Apgar II.

Product Life.

Warranty.

12 months. 

Life of Product.

Estimated 10 years depending on its treatment by the user. 

Standard parts are used so product life will depend on the availability of parts or replacement parts being available

Supply of spares after  production has ceased.

7 years or availability of parts.

Service after production has ceased.

Depends on availability of parts or equivalents being available / suitable.
T:\Apgar Timer Design Files\(G) Product life Apgar II.doc                                                                                     27/01/2004                                                                                                                                                           Page 1



[image: image1.jpg][image: image2.png]